## Priced BOQ
Item No. | Description | Qty | UOM | Unit Rate (AED) | Amount (AED)
E-001 | Supply and install main LV switchboard panel (MCCB 3200A) | 1 | No. | 285000 | 285000
E-002 | Supply and install sub-distribution boards (SDB) per floor | 24 | No. | 12500 | 300000
E-003 | Supply and install XLPE copper power cables 4x240mm2 | 2500 | LM | 485 | 1212500
E-004 | Supply and install XLPE copper power cables 4x95mm2 | 4800 | LM | 195 | 936000
E-005 | Supply and install lighting fixtures - LED panel 60x60cm | 1200 | No. | 185 | 222000
E-006 | Supply and install lighting fixtures - LED downlight 8 inch | 850 | No. | 145 | 123250
E-007 | Supply and install emergency lighting with battery backup | 320 | No. | 320 | 102400
E-008 | Supply and install cable trays - hot dip galvanized 600mm | 3200 | LM | 125 | 400000
E-009 | Supply and install cable trays - hot dip galvanized 300mm | 2100 | LM | 85 | 178500
E-010 | Supply and install power sockets 13A twin switched | 960 | No. | 65 | 62400
E-011 | Supply and install 20A outlet for AC units | 96 | No. | 95 | 9120
E-012 | Supply and install earthing and lightning protection system | 1 | Lot | 175000 | 175000
F-001 | Supply and install fire pump set - electric main pump | 1 | Set | 245000 | 245000
F-002 | Supply and install fire pump set - diesel standby pump | 1 | Set | 320000 | 320000
F-003 | Supply and install fire pump set - jockey pump | 1 | Set | 45000 | 45000
F-004 | Supply and install wet riser piping - SCH40 150mm | 800 | LM | 285 | 228000
F-005 | Supply and install wet riser piping - SCH40 65mm | 2400 | LM | 125 | 300000
F-006 | Supply and install sprinkler heads - pendant K5.6 | 2400 | No. | 48 | 115200
F-007 | Supply and install fire hose cabinets - recessed | 48 | No. | 2800 | 134400
F-008 | Supply and install fire alarm control panel - addressable | 1 | No. | 185000 | 185000
F-009 | Supply and install smoke detectors - addressable optical | 960 | No. | 165 | 158400
F-010 | Supply and install manual call points - addressable | 96 | No. | 195 | 18720
F-011 | Supply and install fire alarm sounders with beacon | 192 | No. | 225 | 43200
F-012 | Supply and install fire rated cabling 2C 1.5mm2 | 12000 | LM | 18.5 | 222000
H-001 | Supply and install chilled water AHU - 20,000 CFM | 4 | No. | 145000 | 580000
H-002 | Supply and install chilled water AHU - 10,000 CFM | 8 | No. | 82000 | 656000
H-003 | Supply and install fan coil units - ceiling concealed 2TR | 120 | No. | 3200 | 384000
H-004 | Supply and install fan coil units - ceiling concealed 1TR | 80 | No. | 2400 | 192000
H-005 | Supply and install chilled water piping - insulated 150mm | 1800 | LM | 245 | 441000
H-006 | Supply and install chilled water piping - insulated 100mm | 2400 | LM | 175 | 420000
H-007 | Supply and install chilled water piping - insulated 50mm | 3600 | LM | 95 | 342000
H-008 | Supply and install GI ductwork - rectangular | 8500 | Kg | 32 | 272000
H-009 | Supply and install flexible duct connections | 400 | No. | 85 | 34000
H-010 | Supply and install supply air diffusers - 600x600mm | 480 | No. | 120 | 57600
H-011 | Supply and install return air grilles - 600x300mm | 480 | No. | 95 | 45600
H-012 | Supply and install BMS controllers and sensors | 1 | Lot | 450000 | 450000
P-001 | Supply and install domestic water pumps - booster set | 2 | Set | 65000 | 130000
P-002 | Supply and install PPR hot water piping 63mm | 1200 | LM | 75 | 90000
P-003 | Supply and install PPR cold water piping 75mm | 1800 | LM | 85 | 153000
P-004 | Supply and install PPR cold water piping 32mm | 3200 | LM | 42 | 134400
P-005 | Supply and install uPVC drainage piping 110mm | 2800 | LM | 65 | 182000
P-006 | Supply and install uPVC drainage piping 50mm | 1600 | LM | 38 | 60800
P-007 | Supply and install floor drains - stainless steel 150mm | 320 | No. | 145 | 46400
P-008 | Supply and install water heaters - 100L electric | 24 | No. | 2200 | 52800
P-009 | Supply and install sanitary fixtures - WC wall hung | 96 | No. | 1850 | 177600
P-010 | Supply and install sanitary fixtures - wash basin counter top | 96 | No. | 1450 | 139200
P-011 | Supply and install kitchen sink - double bowl SS | 24 | No. | 1800 | 43200
P-012 | Supply and install GRP water storage tank 50,000L | 2 | No. | 185000 | 370000