## Summary
Vendor Pricing Export Summary
Export Date: | 2026-02-14 01:49:38 UTC
Total Records: | 106
Total Vendors: | 2
Total Tenders: | 2
Total Bid Value: | 26771430
Vendor Summary
Vendor Name | Trade | Snapshots | Total Value
ABC Construction LLC | General Construction | 2 | 15296740
Cubic Contracting | construction | 1 | 11474690

## Pricing Data
Vendor Name | Trade | Tender Reference | Tender Title | Date | Item Description | UOM | Rate | Quantity | Total Amount | Currency
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:32 | Supply and install sub-distribution boards (SDB) per floor | No. | 12500 | 24 | 300000 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:32 | Supply and install XLPE copper power cables 4x95mm2 | LM | 195 | 4800 | 936000 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:32 | Supply and install lighting fixtures - LED panel 60x60cm | No. | 185 | 1200 | 222000 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:32 | Supply and install cable trays - hot dip galvanized 600mm | LM | 125 | 3200 | 400000 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:32 | Supply and install emergency lighting with battery backup | No. | 320 | 320 | 102400 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:32 | Supply and install main LV switchboard panel (MCCB 3200A) | No. | 285000 | 1 | 285000 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:32 | Supply and install lighting fixtures - LED downlight 8 inch | No. | 145 | 850 | 123250 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:32 | Supply and install power sockets 13A twin switched | No. | 65 | 960 | 62400 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:32 | Supply and install XLPE copper power cables 4x240mm2 | LM | 485 | 2500 | 1212500 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:32 | Supply and install cable trays - hot dip galvanized 300mm | LM | 85 | 2100 | 178500 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:37 | Supply and install XLPE copper power cables 4x240mm2 | LM | 485 | 2500 | 1212500 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:37 | Supply and install smoke detectors - addressable optical | No. | 165 | 960 | 158400 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:37 | Supply and install 20A outlet for AC units | No. | 95 | 96 | 9120 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:37 | Supply and install power sockets 13A twin switched | No. | 65 | 960 | 62400 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:37 | Supply and install fire rated cabling 2C 1.5mm2 | LM | 18.5 | 12000 | 222000 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:37 | Supply and install fire pump set - diesel standby pump | Set | 320000 | 1 | 320000 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:37 | Supply and install chilled water piping - insulated 100mm | LM | 175 | 2400 | 420000 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:37 | Supply and install sanitary fixtures - WC wall hung | No. | 1850 | 96 | 177600 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:37 | Supply and install GRP water storage tank 50,000L | No. | 185000 | 2 | 370000 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:37 | Supply and install return air grilles - 600x300mm | No. | 95 | 480 | 45600 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:37 | Supply and install kitchen sink - double bowl SS | No. | 1800 | 24 | 43200 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:37 | Supply and install BMS controllers and sensors | Lot | 450000 | 1 | 450000 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:37 | Supply and install PPR hot water piping 63mm | LM | 75 | 1200 | 90000 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:37 | Supply and install fire hose cabinets - recessed | No. | 2800 | 48 | 134400 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:37 | Supply and install manual call points - addressable | No. | 195 | 96 | 18720 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:37 | Supply and install sanitary fixtures - wash basin counter top | No. | 1450 | 96 | 139200 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:37 | Supply and install cable trays - hot dip galvanized 300mm | LM | 85 | 2100 | 178500 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:37 | Supply and install lighting fixtures - LED panel 60x60cm | No. | 185 | 1200 | 222000 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:37 | Supply and install PPR cold water piping 32mm | LM | 42 | 3200 | 134400 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:37 | Supply and install domestic water pumps - booster set | Set | 65000 | 2 | 130000 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:37 | Supply and install fire pump set - electric main pump | Set | 245000 | 1 | 245000 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:37 | Supply and install lighting fixtures - LED downlight 8 inch | No. | 145 | 850 | 123250 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:37 | Supply and install fire alarm control panel - addressable | No. | 185000 | 1 | 185000 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:37 | Supply and install fan coil units - ceiling concealed 2TR | No. | 3200 | 120 | 384000 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:37 | Supply and install emergency lighting with battery backup | No. | 320 | 320 | 102400 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:37 | Supply and install fire alarm sounders with beacon | No. | 225 | 192 | 43200 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:37 | Supply and install chilled water AHU - 20,000 CFM | No. | 145000 | 4 | 580000 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:37 | Supply and install wet riser piping - SCH40 65mm | LM | 125 | 2400 | 300000 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:37 | Supply and install chilled water piping - insulated 150mm | LM | 245 | 1800 | 441000 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:37 | Supply and install flexible duct connections | No. | 85 | 400 | 34000 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:37 | Supply and install floor drains - stainless steel 150mm | No. | 145 | 320 | 46400 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:37 | Supply and install water heaters - 100L electric | No. | 2200 | 24 | 52800 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:37 | Supply and install chilled water AHU - 10,000 CFM | No. | 82000 | 8 | 656000 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:37 | Supply and install wet riser piping - SCH40 150mm | LM | 285 | 800 | 228000 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:37 | Supply and install earthing and lightning protection system | Lot | 175000 | 1 | 175000 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:37 | Supply and install GI ductwork - rectangular | Kg | 32 | 8500 | 272000 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:37 | Supply and install fire pump set - jockey pump | Set | 45000 | 1 | 45000 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:37 | Supply and install XLPE copper power cables 4x95mm2 | LM | 195 | 4800 | 936000 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:37 | Supply and install chilled water piping - insulated 50mm | LM | 95 | 3600 | 342000 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:37 | Supply and install main LV switchboard panel (MCCB 3200A) | No. | 285000 | 1 | 285000 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:37 | Supply and install fan coil units - ceiling concealed 1TR | No. | 2400 | 80 | 192000 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:37 | Supply and install PPR cold water piping 75mm | LM | 85 | 1800 | 153000 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:37 | Supply and install uPVC drainage piping 50mm | LM | 38 | 1600 | 60800 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:37 | Supply and install sprinkler heads - pendant K5.6 | No. | 48 | 2400 | 115200 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:37 | Supply and install sub-distribution boards (SDB) per floor | No. | 12500 | 24 | 300000 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:37 | Supply and install cable trays - hot dip galvanized 600mm | LM | 125 | 3200 | 400000 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:37 | Supply and install supply air diffusers - 600x600mm | No. | 120 | 480 | 57600 | AED
ABC Construction LLC | General Construction | TNR-2026-0001 | MEP Works for Al Reem Island Tower | 2026-02-10 12:37 | Supply and install uPVC drainage piping 110mm | LM | 65 | 2800 | 182000 | AED
Cubic Contracting | construction | TNR-2026-0002 | The Cubic Tower | 2026-02-11 11:39 | Supply and install PPR hot water piping 63mm | LM | 75 | 1200 | 90000 | AED
Cubic Contracting | construction | TNR-2026-0002 | The Cubic Tower | 2026-02-11 11:39 | Supply and install XLPE copper power cables 4x240mm2 | LM | 485 | 2500 | 1212500 | AED
Cubic Contracting | construction | TNR-2026-0002 | The Cubic Tower | 2026-02-11 11:39 | Supply and install BMS controllers and sensors | Lot | 450000 | 1 | 450000 | AED
Cubic Contracting | construction | TNR-2026-0002 | The Cubic Tower | 2026-02-11 11:39 | Supply and install chilled water piping - insulated 50mm | LM | 95 | 3600 | 342000 | AED
Cubic Contracting | construction | TNR-2026-0002 | The Cubic Tower | 2026-02-11 11:39 | Supply and install supply air diffusers - 600x600mm | No. | 120 | 480 | 57600 | AED
Cubic Contracting | construction | TNR-2026-0002 | The Cubic Tower | 2026-02-11 11:39 | Supply and install fire pump set - jockey pump | Set | 45000 | 1 | 45000 | AED
Cubic Contracting | construction | TNR-2026-0002 | The Cubic Tower | 2026-02-11 11:39 | Supply and install cable trays - hot dip galvanized 300mm | LM | 85 | 2100 | 178500 | AED
Cubic Contracting | construction | TNR-2026-0002 | The Cubic Tower | 2026-02-11 11:39 | Supply and install emergency lighting with battery backup | No. | 320 | 320 | 102400 | AED
Cubic Contracting | construction | TNR-2026-0002 | The Cubic Tower | 2026-02-11 11:39 | Supply and install cable trays - hot dip galvanized 600mm | LM | 125 | 3200 | 400000 | AED
Cubic Contracting | construction | TNR-2026-0002 | The Cubic Tower | 2026-02-11 11:39 | Supply and install PPR cold water piping 32mm | LM | 42 | 3200 | 134400 | AED
Cubic Contracting | construction | TNR-2026-0002 | The Cubic Tower | 2026-02-11 11:39 | Supply and install water heaters - 100L electric | No. | 2200 | 24 | 52800 | AED
Cubic Contracting | construction | TNR-2026-0002 | The Cubic Tower | 2026-02-11 11:39 | Supply and install GI ductwork - rectangular | Kg | 32 | 8500 | 272000 | AED
Cubic Contracting | construction | TNR-2026-0002 | The Cubic Tower | 2026-02-11 11:39 | Supply and install fan coil units - ceiling concealed 1TR | No. | 2400 | 80 | 192000 | AED
Cubic Contracting | construction | TNR-2026-0002 | The Cubic Tower | 2026-02-11 11:39 | Supply and install power sockets 13A twin switched | No. | 65 | 960 | 62400 | AED
Cubic Contracting | construction | TNR-2026-0002 | The Cubic Tower | 2026-02-11 11:39 | Supply and install flexible duct connections | No. | 85 | 400 | 34000 | AED
Cubic Contracting | construction | TNR-2026-0002 | The Cubic Tower | 2026-02-11 11:39 | Supply and install XLPE copper power cables 4x95mm2 | LM | 195 | 4800 | 936000 | AED
Cubic Contracting | construction | TNR-2026-0002 | The Cubic Tower | 2026-02-11 11:39 | Supply and install sub-distribution boards (SDB) per floor | No. | 12500 | 24 | 300000 | AED
Cubic Contracting | construction | TNR-2026-0002 | The Cubic Tower | 2026-02-11 11:39 | Supply and install earthing and lightning protection system | Lot | 175000 | 1 | 175000 | AED
Cubic Contracting | construction | TNR-2026-0002 | The Cubic Tower | 2026-02-11 11:39 | Supply and install sprinkler heads - pendant K5.6 | No. | 48 | 2400 | 115200 | AED
Cubic Contracting | construction | TNR-2026-0002 | The Cubic Tower | 2026-02-11 11:39 | Supply and install uPVC drainage piping 50mm | LM | 38 | 1600 | 60800 | AED
Cubic Contracting | construction | TNR-2026-0002 | The Cubic Tower | 2026-02-11 11:39 | Supply and install chilled water piping - insulated 100mm | LM | 175 | 2400 | 420000 | AED
Cubic Contracting | construction | TNR-2026-0002 | The Cubic Tower | 2026-02-11 11:39 | Supply and install sanitary fixtures - WC wall hung | No. | 1850 | 96 | 177600 | AED
Cubic Contracting | construction | TNR-2026-0002 | The Cubic Tower | 2026-02-11 11:39 | Supply and install kitchen sink - double bowl SS | No. | 1800 | 24 | 43200 | AED
Cubic Contracting | construction | TNR-2026-0002 | The Cubic Tower | 2026-02-11 11:39 | Supply and install sanitary fixtures - wash basin counter top | No. | 1450 | 96 | 139200 | AED
Cubic Contracting | construction | TNR-2026-0002 | The Cubic Tower | 2026-02-11 11:39 | Supply and install lighting fixtures - LED downlight 8 inch | No. | 145 | 850 | 123250 | AED
Cubic Contracting | construction | TNR-2026-0002 | The Cubic Tower | 2026-02-11 11:39 | Supply and install fire pump set - diesel standby pump | Set | 320000 | 1 | 320000 | AED
Cubic Contracting | construction | TNR-2026-0002 | The Cubic Tower | 2026-02-11 11:39 | Supply and install chilled water AHU - 20,000 CFM | No. | 145000 | 4 | 580000 | AED
Cubic Contracting | construction | TNR-2026-0002 | The Cubic Tower | 2026-02-11 11:39 | Supply and install 20A outlet for AC units | No. | 95 | 96 | 9120 | AED
Cubic Contracting | construction | TNR-2026-0002 | The Cubic Tower | 2026-02-11 11:39 | Supply and install return air grilles - 600x300mm | No. | 95 | 480 | 45600 | AED
Cubic Contracting | construction | TNR-2026-0002 | The Cubic Tower | 2026-02-11 11:39 | Supply and install wet riser piping - SCH40 65mm | LM | 125 | 2400 | 300000 | AED
Cubic Contracting | construction | TNR-2026-0002 | The Cubic Tower | 2026-02-11 11:39 | Supply and install chilled water piping - insulated 150mm | LM | 245 | 1800 | 441000 | AED
Cubic Contracting | construction | TNR-2026-0002 | The Cubic Tower | 2026-02-11 11:39 | Supply and install smoke detectors - addressable optical | No. | 165 | 960 | 158400 | AED
Cubic Contracting | construction | TNR-2026-0002 | The Cubic Tower | 2026-02-11 11:39 | Supply and install main LV switchboard panel (MCCB 3200A) | No. | 285000 | 1 | 285000 | AED
Cubic Contracting | construction | TNR-2026-0002 | The Cubic Tower | 2026-02-11 11:39 | Supply and install domestic water pumps - booster set | Set | 65000 | 2 | 130000 | AED
Cubic Contracting | construction | TNR-2026-0002 | The Cubic Tower | 2026-02-11 11:39 | Supply and install uPVC drainage piping 110mm | LM | 65 | 2800 | 182000 | AED
Cubic Contracting | construction | TNR-2026-0002 | The Cubic Tower | 2026-02-11 11:39 | Supply and install floor drains - stainless steel 150mm | No. | 145 | 320 | 46400 | AED
Cubic Contracting | construction | TNR-2026-0002 | The Cubic Tower | 2026-02-11 11:39 | Supply and install fan coil units - ceiling concealed 2TR | No. | 3200 | 120 | 384000 | AED
Cubic Contracting | construction | TNR-2026-0002 | The Cubic Tower | 2026-02-11 11:39 | Supply and install GRP water storage tank 50,000L | No. | 185000 | 2 | 370000 | AED
Cubic Contracting | construction | TNR-2026-0002 | The Cubic Tower | 2026-02-11 11:39 | Supply and install manual call points - addressable | No. | 195 | 96 | 18720 | AED
Cubic Contracting | construction | TNR-2026-0002 | The Cubic Tower | 2026-02-11 11:39 | Supply and install fire alarm control panel - addressable | No. | 185000 | 1 | 185000 | AED
Cubic Contracting | construction | TNR-2026-0002 | The Cubic Tower | 2026-02-11 11:39 | Supply and install lighting fixtures - LED panel 60x60cm | No. | 185 | 1200 | 222000 | AED
Cubic Contracting | construction | TNR-2026-0002 | The Cubic Tower | 2026-02-11 11:39 | Supply and install fire hose cabinets - recessed | No. | 2800 | 48 | 134400 | AED
Cubic Contracting | construction | TNR-2026-0002 | The Cubic Tower | 2026-02-11 11:39 | Supply and install wet riser piping - SCH40 150mm | LM | 285 | 800 | 228000 | AED
Cubic Contracting | construction | TNR-2026-0002 | The Cubic Tower | 2026-02-11 11:39 | Supply and install PPR cold water piping 75mm | LM | 85 | 1800 | 153000 | AED
Cubic Contracting | construction | TNR-2026-0002 | The Cubic Tower | 2026-02-11 11:39 | Supply and install fire rated cabling 2C 1.5mm2 | LM | 18.5 | 12000 | 222000 | AED
Cubic Contracting | construction | TNR-2026-0002 | The Cubic Tower | 2026-02-11 11:39 | Supply and install fire pump set - electric main pump | Set | 245000 | 1 | 245000 | AED
Cubic Contracting | construction | TNR-2026-0002 | The Cubic Tower | 2026-02-11 11:39 | Supply and install fire alarm sounders with beacon | No. | 225 | 192 | 43200 | AED
Cubic Contracting | construction | TNR-2026-0002 | The Cubic Tower | 2026-02-11 11:39 | Supply and install chilled water AHU - 10,000 CFM | No. | 82000 | 8 | 656000 | AED