## BOQ
Bill of Quantities
The Joud Tower - Main Construction Works
Reference: TNR-2026-0005
Submission Deadline: 12-Feb-2026 22:43
Currency: AED
Section | Item # | Description | Qty | UOM | Notes | Unit Rate | Amount
1 - Preliminaries & General Requirements | 1.1 | Site establishment, offices, stores and temporary facilities | 1 | LS
1 - Preliminaries & General Requirements | 1.2 | Insurance - Contractor's All Risk (CAR) Policy | 1 | LS
1 - Preliminaries & General Requirements | 1.3 | Performance bond (10% of contract value) | 1 | LS
1 - Preliminaries & General Requirements | 1.4 | Tower crane supply, erection, operation and dismantling (2 nos) | 24 | month
1 - Preliminaries & General Requirements | 1.5 | Construction hoist / passenger-material lift (3 nos) | 24 | month
2 - Substructure Works | 2.1 | Excavation to formation level including disposal | 45000 | m3
2 - Substructure Works | 2.2 | Diaphragm wall construction (800mm thick, 25m deep) | 8500 | m2
2 - Substructure Works | 2.3 | Bored piles (1200mm dia, 30m depth) including load testing | 120 | nos
2 - Substructure Works | 2.4 | Pile caps and ground beams (C50 concrete) | 3200 | m3
2 - Substructure Works | 2.5 | Raft foundation (2.5m thick, C60 concrete) | 4500 | m3
2 - Substructure Works | 2.6 | Waterproofing membrane to basement (crystalline + sheet) | 12000 | m2
3 - Superstructure - Concrete Works | 3.1 | Core wall concrete (C60/C80 grade, 400-600mm thick) | 18000 | m3
3 - Superstructure - Concrete Works | 3.2 | Column concrete (C60 grade, various sizes) | 8500 | m3
3 - Superstructure - Concrete Works | 3.3 | Post-tensioned flat slab (250mm thick, C40) | 95000 | m2
3 - Superstructure - Concrete Works | 3.4 | Transfer slab at Level 8 (1500mm thick, C60) | 2800 | m3
3 - Superstructure - Concrete Works | 3.5 | Rebar supply and fixing (Grade 500B) | 22000 | ton
3 - Superstructure - Concrete Works | 3.6 | Formwork (system formwork for typical floors) | 185000 | m2
4 - Superstructure - Steel Works | 4.1 | Structural steel for outrigger system (Grade S355) | 2400 | ton
4 - Superstructure - Steel Works | 4.2 | Steel roof structure and helipad frame | 850 | ton
4 - Superstructure - Steel Works | 4.3 | Miscellaneous steel (brackets, embeds, lintels) | 1200 | ton
5 - MEP - Mechanical Works | 5.1 | HVAC chiller plant (4 x 1500 TR centrifugal chillers) | 4 | nos
5 - MEP - Mechanical Works | 5.2 | Air handling units and fan coil units complete | 1 | lot
5 - MEP - Mechanical Works | 5.3 | Plumbing and drainage systems complete | 60 | nos
5 - MEP - Mechanical Works | 5.4 | Fire fighting systems (sprinklers, risers, pumps) | 95000 | m2
5 - MEP - Mechanical Works | 5.5 | Elevator installation (20 high-speed passenger + 4 service) | 24 | nos
6 - MEP - Electrical Works | 6.1 | HV/LV switchgear and transformer rooms (4 x 2500kVA) | 4 | nos
6 - MEP - Electrical Works | 6.2 | Emergency diesel generators (2 x 2000kVA) | 2 | nos
6 - MEP - Electrical Works | 6.3 | Electrical distribution (busduct, cables, containment) | 1 | lot
6 - MEP - Electrical Works | 6.4 | Lighting and small power installation | 95000 | m2
6 - MEP - Electrical Works | 6.5 | BMS, ELV systems, IT infrastructure | 1 | lot
7 - Facade & Curtain Wall | 7.1 | Unitized curtain wall system (double-glazed Low-E) | 42000 | m2
7 - Facade & Curtain Wall | 7.2 | Aluminium composite panel cladding to podium | 5500 | m2
7 - Facade & Curtain Wall | 7.3 | Crown feature and architectural lighting | 1 | LS
8 - Interior Fit-Out | 8.1 | Lobby and common area fit-out (marble, feature walls) | 3500 | m2
8 - Interior Fit-Out | 8.2 | Typical residential floor fit-out (shell & core) | 78000 | m2
8 - Interior Fit-Out | 8.3 | Raised floor and ceiling system for office floors | 12000 | m2
8 - Interior Fit-Out | 8.4 | Internal painting and wall finishes | 180000 | m2
9 - External Works & Landscaping | 9.1 | Hardscaping - interlocking pavers and granite paving | 8000 | m2
9 - External Works & Landscaping | 9.2 | Soft landscaping - planting, irrigation, water features | 4500 | m2
9 - External Works & Landscaping | 9.3 | Swimming pool construction (25m lap pool + leisure pool) | 2 | nos
10 - Provisional Sums & Contingency | 10.1 | Provisional sum for authority fees and utility connections | 1 | LS
10 - Provisional Sums & Contingency | 10.2 | Provisional sum for design consultancy fees | 1 | LS
10 - Provisional Sums & Contingency | 10.3 | Contingency allowance (5%) | 1 | LS
TOTAL:
Total Items

## Instructions
BOQ Completion Instructions
1. DO NOT modify the Item #, Description, Quantity, or UOM columns.
2. Enter your Unit Rate for each line item in the 'Unit Rate' column.
3. The Amount column is calculated automatically (Quantity x Unit Rate).
4. All prices should be in the currency specified in the header.
5. Yellow highlighted cells indicate required input.
6. Use the dropdown list for UOM if available.
7. Ensure all unit rates are filled before submission.
8. Save the file in .xlsx format after completion.
9. Do not add, delete, or reorder rows.
10. Contact the procurement team for any clarifications.
Color Legend:
Protected cells (read-only)
Cells requiring input