## Cover
(Project 224008)
VOLUME IV
BOQ
Rev. T00 - Issued for Tender- 23rd September 2024
Completion of Construction, Remedying Defects Therein and Maintenance During One Year Defect Liability Period of
G + 4 Parking + 15 (Typical) Floors Building
On Plot No. 308 at Al Khan / Al Khaldeah, Sharjah, U.A.E
Employer : Mr. Mongi Jarray
Engineer : Al Mukab Al Fudhi Eng. Consultants LLC

## BILL 1 TO 14
Item | Description of Works | Unit | QTY | RATE ( AED ) | TOTAL Item PRICE ( AED )
BILL NO. 1 : PRELIMINARIES
These General Requirements are applicable to the whole of the works each item, clause or sub-clause must be individually priced. The Tenderer shall not enter any lump-sums covering more than one or all items, clauses or sub-clauses. Note: Where any item, clause, or sub clause of the preliminaries has not been priced, it will be deemed that the value of such item, clause or sub clause is included in the rates for measured items elsewhere in the bills of quantities. Any Work not specified in drawings, specification, BOQ but required as per local authorities and necessary to complete work to be included in the Main Contractors scope of work.
1.01 | Provide site compound, workshops, secure storage areas, temporary external lighting, plant, roads, car shed ,etc. and remove on completion, including that for all Nominated Sub-Contractors | Item |  |  | 0
1.02 | Allow for any extreme physical constraints of the site | Item |  |  | 0
1.03 | Allow for protecting all the Works from the weather, damage, theft, including that of all Nominated Sub- Contractors and clearing away same on completion | Item |  |  | 0
1.04 | Allow for protecting all finished Work, including that of all Nominated Sub-Contractors, from damage however caused and theft | Item |  |  | 0
1.05 | Allow for temporary covering to excavations and other hazards | Item |  |  | 0
1.06 | Allow for temporary barricading to excavations, structural openings, shafts, exposed floor ends, roofs and all other hazards, etc. | Item |  |  | 0
1.07 | Allow for keeping the Site, roads, footpaths and any adjacent areas affected by the Works clear of debris and other rubbish during the progress of the Work and on completion | Item |  |  | 0
1.08 | Allow for site administration, Contractor Staff Sallaries, Overhead, Profits, supervision, security, safety, pest control, health and overtime (including any overtime requirements for the Engineer Representatives) | Item |  |  | 0
1.09 | Allow for hoarding and fencing requirements including regular maintenance and decoration with all gates and access and egress points, including removal on completion | Item |  |  | 0
1.1 | Allow for protecting adjacent roads and footpaths, working areas, etc. from falling debris, etc. from overhead works, including safety protection fans for all elevations, at all levels, including relocation to suit the course of the works | Item |  |  | 0
1.11 | Allow for providing plant and tools | Item |  |  | 0
1.12 | Allow for providing all scaffolding and cradles and maintaining with regular servicing and checks (including for all Nominated Sub-Contractors requirements) | Item |  |  | 0
1.13 | Allow for all tower cranes, mobile cranes, and lifting equipment, for unloading, loading and lifting of all materials, including all carnage requirements for Nominated Sub-Contractors, and the provision of dedicated bandsmen for each crane | Item |  |  | 0
1.14 | Allow for all hoist requirements for passengers and goods, including installation and regular maintenance and servicing, with a secure compartment around the base of each hoist and dedicated operators, each with mobile communication for each hoist | Item |  |  | 0
1.15 | Client & Engineer's Facilities: Allow for providing all required facilities and requirements as detailed in Specifications, including maintaining, altering, adapting or relocating to suit the Progress of the Work and clearing same at completion | Item |  |  | 0
1.16 | Contractor's Facilities: Allow for providing all required office facilities for the Contractor and Nominated Sub-Contractors including maintaining, altering, adapting or relocating to suit the Progress of the Work and clearing same at completion | Item |  |  | 0
1.17 | Setting-Out and Surveying Allow for setting out the Work and preparing level surveys | Item |  |  | 0
1.18 | Diversion of Service: Allow for protecting existing services within the fenced area of the site and for giving notices to the relevant Authorities to arrange for any necessary service diversions and for providing labor and materials and attendance for the diversion as necessary | Item |  |  | 0
1.19 | Traffic Safety and Control: Allow for warning sign lamps, barricades, temporary traffic signals, signage, etc. | Item |  |  | 0
1.2 | Temporary Diversions: Allow for constructing temporary roads, footpaths and similar diversions, including obtaining all consents and clearing away | Item |  |  | 0
1.21 | Increased Costs: Allow for inflation of building costs during the progress of the Works | Item |  |  | 0
1.22 | Reduced Scale and "As-Built" Drawing Sets and Maintenance Manuals; Allow for providing reduced scale design drawings, "As-Built" drawing sets and Maintenance and Operation Manuals | Item |  |  | 0
1.23 | Progress Photographs: Allow for providing monthly 1 set of HD Digitals Photographs and prints, taken at various locations from which three (3) sets of twenty (20) prints size A4 will be selected | Item |  |  | 0
1.24 | Samples: Allow for providing samples of materials as required | Item |  |  | 0
1.25 | Allow for carrying out tests on plant, equipment, materials and workmanship as required | Item |  |  | 0
1.26 | Allow for clearing away all rubbish on a daily basis during the progress of the Works and on completion and for leaving the site and perimeter tidy on completion | Item |  |  | 0
1.27 | Allow for cleaning the site and buildings inside and out, upon completion, and leaving for occupation, using an experienced and approved professional cleaning company | Item |  |  | 0
1.28 | Allow for Performance Bond | Item |  |  | 0
1.29 | Allow for all Contractor's Insurance requirements | Item |  |  | 0
1.3 | Allow for Local Authorities charges and fees including permit fees and temporary connection fees for all services | Item |  |  | 0
1.31 | Allow for temporary power, water, sanitary, sewerage and telephone requirements and supplies | Item |  |  | 0
1.32 | Allow for loss or damage to Works, Materials, Plant, etc. | Item |  |  | 0
1.33 | Allow for Providing Project Sign Boards as shown on drawings/ Specifications | Item |  |  | 0
1.34 | Allow for including and considering (at the time of tendering and signing Contract agreement ) federal corporate tax on business profits applicable and imposed by UAE Government effective since June 2023. | Item |  |  | 0
| Additional Items: The contractor to detail below any additional Items (with quantities and rates) shown in the drawings, mentioned in the specs. And /or required for satisfactory completion of the buildup of the lump sum project price of this section of works. Should the contractor fail to insert any Item in this section, it will be deemed that his lump sum price for the entire project included all Items and no subsequent claim for any additional Items will be entertained. |  |  |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| Total Bill No. 1 Carried To Collection |  |  |  | 0
BILL NO. 2 : SUB-STRUCTURE
2.01 | Excavation for Foundation, UG Water tank, holding tanks, UG facilities, etc., starting from the excavation level of the Existing natural ground level up to bottom of foundation |  |  |  | 0
a | Excavation | m3 |  |  | 0
b | Shoring Works (If Required) | m |  |  | 0
c | Dewatering Works | LS |  |  | 0
2.02 | Remove surplus excavated materials from the site | L.S. |  |  | 0
| Piling Works |  |  |  | 0
a | Pilling Work | LS |  |  | 0
b | All pilling tests as per spec. | LS |  |  | 0
c | Cutting of piles head | LS |  |  | 0
d | Treatment and water proofing for all piles | LS |  |  | 0
2.03 | Supply & Provide RCC for Pile Caps Including Form Work, Steel Reinforcement and Necessary Items as Per Specifications & Engineer Approval | m3 |  |  | 0
2.04 | Supply & Provide RCC for Strap Beams Including Form Work, Steel Reinforcement and Necessary Items as Per Specifications & Engineer Approval | m3 |  |  | 0
2.05 | Supply & Provide RCC for Neck Columns and Neck Walls Including Form Work, Steel Reinforcement and Necessary Items as Per Specifications & Engineer Approval | m3 |  |  | 0
2.06 | Refilling with Approved result of excavation, or Imported Back Fill (up to tie beam level) as directed by the Engineer | m3 |  |  | 0
2.07 | Supply & Provide Road Base Compacted as per Structural Drawings, up to 97% as per standards, spec. soil report and Structural Drawings. | m3 |  |  | 0
2.08 | Supply & Provide Anti-termite Treatment as Per Specifications & Engineer Approval | m2 |  |  | 0
2.09 | Supply & Provide 1000 G Polythene Sheets as Per Specifications, Structure Drawings & Engineer Approval | m2 |  |  | 0
2.1 | Supply & Provide Blinding Concrete ; 100 mm thick under Foundation, UG Water Tank, etc. as Per Specifications, Structure Drawings & Engineer Approval | m3 |  |  | 0
2.11 | Supply & Provide RCC for Tie Beams Including Form Work, Steel Reinforcement and Necessary Items as Per Specifications & Engineer Approval | m3 |  |  | 0
2.12 | Supply & Provide RCC for Neck Walls Including Form Work, Steel Reinforcement and Necessary Items as Per Specifications & Engineer Approval | m3 |  |  | 0
2.13 | Supply & Provide Waterproof RCC for all surfaces to the Under-Ground Water Tank, Water Proof Concrete Including Form Work, Steel Reinforcement and Necessary Items as Per Specifications & Engineer Approval | m3 |  |  | 0
2.14 | Supply & Provide RCC Slab On Grade ( SOG/ Slab on Ground ) with BRC mesh A252 or as indicated in the Structural Drawings above 95% Well Compacted Soil, and 1000 g Polyethylene Sheet. Including Form Work, Steel Reinforcement and Necessary Items as Per Specifications & Engineer Approval | m3 |  |  | 0
2.15 | Supply & Apply SBS Water Proofing Membrane for Sub-structure works (Pile Caps, Strap Beams, Ground beam, Retaining Walls, Water tank external surface, etc. ), as Per Specifications, Structure Drawings & Engineer Approval |  |  |  | 0
a | Horizontal Surfaces: One-layer 4mm SBS Water Proofing Membrane + Protection Screed as per specifications | m2 |  |  | 0
b | Vertical Surfaces: One-layer 4mm SBS Water Proofing Membrane + Protection Board as per specifications | m2 |  |  | 0
2.16 | Supply & Apply GRP Waterproofing lining for Internal Surfaces of Under Ground Water Tank as Per Specifications & Engineer Approval | m2 |  |  | 0
2.17 | Damp proof Course (DPC) BituSeal 1000 self-adhesive, first line for block works at ground floor and around all wet areas (Kitchens, baths, toilets, Balconies for all floors) | RM |  |  | 0
2.18 | Supply & Apply 2 Coats Of Acrylic, Cementitious Waterproof, for Internal Surfaces of Manholes as per Specifications and Engineer's Approval | m2 |  |  | 0
2.19 | Supply & Apply Substructure solid block Under External Tie Beams including all necessary Items As per Specifications, Drawings & Engineer Approval | m2 |  |  | 0
| Additional Items: The contractor to detail below any additional Items (with quantities and rates) shown in the drawings, mentioned in the specs. And /or required for satisfactory completion of the buildup of the lump sum project price of this section of works. Should the contractor fail to insert any Item in this section, it will be deemed that his lump sum price for the entire project included all Items and no subsequent claim for any additional Items will be entertained. |  |  |  | 0
0
0
0
0
0
0
0
0
| Total Bill No. 2 Carried To Collection |  |  |  | 0
BILL NO. 3 : SUPER-STRUCTURE
3.01 | Supply & Provide RCC for Columns, Walls, Core & Shear walls Including Form Work, Steel Reinforcement and Necessary Items as Per Specifications, Structure Drawings & Engineer Approval | m3 |  |  | 0
3.02 | Supply & Provide RCC for Beams Including Form Work, Steel Reinforcement and Necessary Items as Per Specifications, Structure Drawings & Engineer Approval | m3 |  |  | 0
3.03 | Supply & Provide RCC for Slabs Including Form Work, Steel Reinforcement and Necessary Items as Per Specifications, Structure Drawings & Engineer Approval | m3 |  |  | 0
3.04 | Supply & Provide RCC for Post-tension Slabs Including Form Work, Steel Reinforcement and Necessary Items as per Specifications, Structure Drawings & Engineer Approval | m3 |  |  | 0
3.05 | Supply & Provide RCC for Parking Ramps Including Form Work, Steel Reinforcement and Necessary Items as Per Specifications, Structure Drawings & Engineer Approval | m3 |  |  | 0
3.06 | Supply & Provide RCC for Stair Slabs & Flights Including Form Work, Steel Reinforcement and Necessary Items as Per Specifications, Structure Drawings & Engineer Approval | m3 |  |  | 0
3.07 | Supply & Provide RCC for Parapets Including Form Work, Steel Reinforcement and Necessary Items as Per Specifications, Structure Drawings & Engineer Approval | m3 |  |  | 0
3.08 | Supply & Provide RCC for Upstands Including Form Work, Steel Reinforcement and Necessary Items as Per Specifications, Structure Drawings & Engineer Approval | m3 |  |  | 0
3.09 | Supply & Provide RCC for Lintels/arches/etc. Including Form Work, Steel Reinforcement and Necessary Items as Per Specifications & Engineer Approval | m3 |  |  | 0
3.1 | Supply & Provide RCC for Entrance Steps and Ramps Including Form Work, Steel Reinforcement and Necessary Items as Per Specifications, Structure Drawings & Engineer Approval | m3 |  |  | 0
3.11 | Supply & Provide RCC for Trench Including Form Work, Steel Reinforcement and Necessary Items as Per Specifications & Engineer Approval | m3 |  |  | 0
3.12 | Supply & Provide RCC for Transfer Beams & Slab Including Form Work, Steel Reinforcement and Necessary Items as Per Specifications & Engineer Approval | m3 |  |  | 0
3.13 | Supply & Provide 10 cm high PCC Base below Kitchen Cabinets and Wardrobes | m3 |  |  | 0
3.14 | Supply & Provide foundations for MEP equipments and water tanks at the roof. | m3 |  |  | 0
3.15 | Supply & Provide 10 cm high RCC slabs for Block Works Nich as indicated on Arch drawings. | m3 |  |  | 0
| Additional Items: The contractor to detail below any additional Items (with quantities and rates) shown in the drawings, mentioned in the specs. And /or required for satisfactory completion of the buildup of the lump sum project price of this section of works. Should the contractor fail to insert any Item in this section, it will be deemed that his lump sum price for the entire project included all Items and no subsequent claim for any additional Items will be entertained. |  |  |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| Total Bill No. 3 Carried To Collection |  |  |  | 0
BILL NO. 4 : BLOCK WORKS
4.01 | Supply & Apply Hollow Concrete Blocks bedded and jointed in cement sand mortar (1:3) Including all Necessary Works & Accessories as Per Specifications & Engineer Approval. |  |  |  | 0
a | 100 mm thick | m2 |  |  | 0
b | 150 mm thick | m2 |  |  | 0
c | 200 mm thick | m2 |  |  | 0
d | 250 mm thick | m2 |  |  | 0
4.02 | Supply & Apply Thermal Concrete Blocks bedded and jointed in cement sand mortar (1:3) Including all Necessary Works & Accessories as Per Specifications & Engineer Approval. |  |  |  | 0
a | 150 mm thick | m2 |  |  | 0
b | 200 mm thick | m2 |  |  | 0
c | 250 mm thick | m2 |  |  | 0
d | 300 mm thick | m2 |  |  | 0
e | 350 mm thick | m2 |  |  | 0
f | 400 mm thick | m2 |  |  | 0
4.03 | Supply & Apply Solid Block works for First Block Coarse, Around False Ceiling Fixing Premier Including all Necessary Works & Accessories as Per Specifications & Engineer Approval. | m2 |  |  | 0
4.04 | Supply & Apply Fire Stopping Sealant for All Penetrations and Façade Cladding /Curtain Walls as Per Sharjah Municipality & Civil Defense Requirements, and Project Specifications. | Item |  |  | 0
4.05 | Supply & Apply Internal plaster for walls as specified in specifications and complete with all related accessories. As per Engineer Approval, Plaster above false ceiling to receive two coats of primer as per specifications. | m2 |  |  | 0
4.06 | Supply & Apply External plaster for walls (Including OTS, back side of parapet) as specified in specifications and complete with all related accessories, including Grooves. As per Engineer Approval | m2 |  |  | 0
| Additional Items: The contractor to detail below any additional Items (with quantities and rates) shown in the drawings, mentioned in the specs. And /or required for satisfactory completion of the buildup of the lump sum project price of this section of works. Should the contractor fail to insert any Item in this section, it will be deemed that his lump sum price for the entire project included all Items and no subsequent claim for any additional Items will be entertained. |  |  |  | 0
0
0
0
| Total Bill No. 4 Carried To Collection |  |  |  | 0
BILL NO. 5 : WATER PROOFING WORKS
5.01 | Supply & Apply Compo Roofing System with PIR Foam > 70 mm, as per Specifications & Engineer Approval | m2 |  |  | 0
5.02 | Supply & Apply 2 coat an Acrylic, Cementitious Waterproof for the Wet Areas, including but not limited t the following areas, this Include floor area & Skirting and Polyethylene Protection Sheet | m2 |  |  | 0
a | Bathrooms | m2 |  |  | 0
b | Kitchens | m2 |  |  | 0
c | Balconies | m2 |  |  | 0
d | Any other wet areas | m2 |  |  | 0
5.03 | Supply & Fix PVC Water stop for water tanks as per Specifications and Engineer Approval | RM |  |  | 0
5.04 | Supply & Apply Acrylic, Cementitious Waterproof behind all types of Cladding & Curtain wall as per elevation finishing , including Balconies and All Exposed Areas on Elevation, as per specifications | m2 |  |  | 0
| Additional Items: The contractor to detail below any additional Items (with quantities and rates) shown in the drawings, mentioned in the specs. And /or required for satisfactory completion of the buildup of the lump sum project price of this section of works. Should the contractor fail to insert any Item in this section, it will be deemed that his lump sum price for the entire project included all Items and no subsequent claim for any additional Items will be entertained. |  |  |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
| Total Bill No. 5 Carried To Collection |  |  |  | 0
BILL NO. 6 : CARPENTRY & JOINERY WORKS
6.01 | Supply & Install Fire rated Wooden Door at Staircase (G.F), Type WD01 Solid Door (Prime Supply Cost 2,800 AED/Door) all as per Drawings, Specifications & Engineer Approval. | Nos. |  |  | 0
6.02 | Supply & Install Fire rated Wooden Door at Staircase (1st Parking, Typ. Floor & Roof), Type WD02 Solid Door (Prime Supply Cost 2,800 AED/Door) all as per Drawings, Specifications & Engineer Approval. | Nos. |  |  | 0
6.03 | Supply & Install Wooden Door at G.F Exit & Telephone Room, Type WD03 Semi-Solid Door (Prime Supply Cost 1,600 AED/Door) all as per Drawings, Specifications & Engineer Approval. | Nos. |  |  | 0
6.04 | Supply & Install Fire rated Wooden Door at Flat Entrance, Type WD04 Solid Door (Prime Supply Cost 2,800 AED/Door) all as per Drawings, Specifications & Engineer Approval. | Nos. |  |  | 0
6.05 | Supply & Install Wooden Door at Kitchen, Type WD05 Solid Door (Prime Supply Cost 1,800 AED/Door) all as per Drawings, Specifications & Engineer Approval. | Nos. |  |  | 0
6.06 | Supply & Install Wooden Doors at Bedrooms, Type WD06 Semi-Solid Door (Prime Supply Cost 1,400 AED/Door) all as per Drawings, Specifications & Engineer Approval. | Nos. |  |  | 0
6.07 | Supply & Install Wooden Door at Bathroom and W.C, Type WD07 Semi-Solid Door (Prime Supply Cost 1,400 AED/Door) all as per Drawings, Specifications & Engineer Approval. | Nos. |  |  | 0
6.08 | Supply & Install Fire rated Wooden Door at Garbage room, Type WD08 Solid Door (Prime Supply Cost 2,400 AED/Door) all as per Drawings, Specifications & Engineer Approval. | Nos. |  |  | 0
6.09 | Supply & Install Fire rated Wooden Door at Electrical Room, FFC, Telephone Room, Gas Room, Type WD09 Solid Door (Prime Supply Cost 2,400 AED/Door ) all as per Drawings, Specifications & Engineer Approval. | Nos. |  |  | 0
6.1 | Supply & Install Fire rated Wooden Door at W.M Typical Floors, Type WD10 Solid Door (Prime Supply Cost 3,800 AED/Door) all as per Drawings, Specifications & Engineer Approval. | Nos. |  |  | 0
6.11 | Supply & Install Fire rated Wooden Door at GSM & Machine Room, Type WD11 Solid Door (Prime Supply Cost 3,000 AED/Door ) all as per Drawings, Specifications & Engineer Approval. | Nos. |  |  | 0
6.12 | Supply & Install Wooden Door at Watchman room, Type WD12 Semi-Solid Door (Prime Supply Cost 1,400 AED/Door) all as per Drawings, Specifications & Engineer Approval. | Nos. |  |  | 0
6.13 | Supply & Install Wooden Door at Bath room (Watchman), Type WD13 Semi-Solid Door (Prime Supply Cost 1,300 AED/Door) all as per Drawings, Specifications & Engineer Approval. | Nos. |  |  | 0
6.14 | Supply & Install Wooden Door at Bath room (Shops), Type WD14 Semi-Solid Door (Prime Supply Cost 1,300 AED/Door) all as per Drawings, Specifications & Engineer Approval. | Nos. |  |  | 0
6.15 | Supply & Install Wooden Doors Ironmongery, including all necessary works as per Profession Standards & Engineer Approval
a | PC= 225 AED/ Internal Doors | Nos. |  |  | 0
b | PC= 300 AED/ Flat Doors and Services | Nos. |  |  | 0
c | PC= 500 AED/ Door with Closer or panic bar | Nos. |  |  | 0
6.16 | Supply & Install plywood sub frame, minimum 18mm thick for all timber opening including fixing and all associated works. | Nos. |  |  | 0
6.17 | Supply & Install Kitchen Cabinets (Prime Supply Cost as detailed below), including all necessary works as per Profession Standards & Engineer Approval
a | For lower Cabinets AED 500/RM | RM |  |  | 0
b | For upper Cabinets AED 500/RM | RM |  |  | 0
c | Granite Counter Top AED 400/RM | RM |  |  | 0
d | Sink with Mixer & Hood AED 600 AED / set | set |  |  | 0
6.18 | Supply & Install Wardrobes / Dressing Cabinets (Prime Supply Cost 1,600 AED/RM), including all necessary works as per Profession Standards & Engineer Approval | RM |  |  | 0
6.19 | Supply & Install Shoe Cabinets (Prime Supply Cost 1,200 AED/RM), including all necessary works as per Profession Standards & Engineer Approval | RM |  |  | 0
| Additional Items: The contractor to detail below any additional Items (with quantities and rates) shown in the drawings, mentioned in the specs. And /or required for satisfactory completion of the buildup of the lump sum project price of this section of works. Should the contractor fail to insert any Item in this section, it will be deemed that his lump sum price for the entire project included all Items and no subsequent claim for any additional Items will be entertained. |  |  |  | 0
0
0
0
0
0
0
0
0
0
0
| Total Bill No. 6 Carried To Collection |  |  |  | 0
BILL NO. 7 : METAL & GLAZING WORKS
7.01 | Supply and fix the following Doors and Gates with all associated works complete as specified and to Engineer's approval as shown in Schedules, with Glazing, framing, Louvers, accessories, handles… etc.:
a | ALUMINIUM DOOR Type ALD 01 | Nos. |  |  | 0
b | ALUMINIUM DOOR Type ALD 02 | Nos. |  |  | 0
c | ALUMINIUM DOOR Type ALD 03 | Nos. |  |  | 0
d | ALUMINIUM DOOR Type ALD 04 | Nos. |  |  | 0
e | ALUMINIUM DOOR Type ALD 05 | Nos. |  |  | 0
f | ALUMINIUM DOOR Type ALD 06 | Nos. |  |  | 0
7.02 | Supply & Install Thermal Break Windows as per Specifications, Arch Drawings & Engineer Approval. Complete with Accessories:
a | WINDOW NUMBER W00 | Nos. |  |  | 0
b | WINDOW NUMBER W01 | Nos. |  |  | 0
c | WINDOW NUMBER W02 | Nos. |  |  | 0
d | WINDOW NUMBER W03 | Nos. |  |  | 0
e | WINDOW NUMBER W04 | Nos. |  |  | 0
f | WINDOW NUMBER W05 | Nos. |  |  | 0
g | WINDOW NUMBER W06 | Nos. |  |  | 0
7.03 | Supply & Install Glass Fascade as per Specifications, Arch Drawings & Engineer Approval. Complete with Doors. Louvers, Strips, Accessories, etc
a | Glass Facade Type GF 01 | Nos. |  |  | 0
b | Glass Facade Type GF 02 | Nos. |  |  | 0
c | Glass Facade Type GF 03 | Nos. |  |  | 0
d | Glass Facade Type GF 04 | Nos. |  |  | 0
e | Glass Facade Type GF 05 | Nos. |  |  | 0
f | Glass Facade Type GF 06 | Nos. |  |  | 0
g | Glass Facade Type GF 07 | Nos. |  |  | 0
h | Glass Facade Type GF 08 | Nos. |  |  | 0
i | Glass Facade Type GF 09 | Nos. |  |  | 0
j | Glass Facade Type GF 10 | Nos. |  |  | 0
7.04 | Supply & Install Powder Coated Extruded Powder Coated Aluminum Louver on Facade with all necessary Structural Support as per Specifications & arch drawings, design is upon shop drawings approval & client approval. Elevation Finish 07 | m2 |  |  | 0
7.05 | Type - 01 Supply & Install Glazed Aluminum Handrail Facial Mounted with prefabricated powder coated aluminum grip bar, and Safety Laminated Glass, with all necessary Structural Support as per Specifications & arch drawings, design is upon shop drawings approval & client approval. | RM |  |  | 0
7.06 | Type - 02 Supply & Install Glazed Aluminum Handrail Top Mounted with prefabricated powder coated aluminum grip bar, and Safety Laminated Glass, with all necessary Structural Support as per Specifications & arch drawings, design is upon shop drawings approval & client approval. | RM |  |  | 0
7.07 | Type - 03 Supply & Install Aluminum Polyester Powder Coated tubular Handrail for the Staircase with all necessary Structural Support as per Specifications & arch drawings, design is upon shop drawings approval & client approval. | RM |  |  | 0
7.08 | Supply & Install Steel canopy with Extruded Aluminum Claustra Panel, 6mm Thick Clear Acrylic Sheet Cover & S.S. Grade 316 tension bracket as with all necessary Structural Support as per Specifications & arch drawings, design is upon shop drawings approval & client approval. At Elevation No. 02, 03, 04 | m2 |  |  | 0
7.09 | Supply & Install Galvanized Steel Powder Coated Painted Cat ladder, with all necessary Structural Support as per Specifications & arch drawings, design is upon shop drawings approval & client approval. | RM |  |  | 0
7.1 | Supply & Install Powder Coated Aluminum OTS Cover , with all necessary Structural Support as per Specifications & arch drawings, design is upon shop drawings approval & client approval. | L.S. |  |  | 0
7.11 | Supply & fix Galvanized Steel Powder Coated OTS Services Platforms, with all necessary Structural Support as per Specifications & arch drawings, design is upon shop drawings approval & client approval. | L.S. |  |  | 0
7.12 | Supply & Install GRP Ladder for the Under Ground water Tank: as per Specifications, Arch Drawings, & Engineer Approval | L.S. |  |  | 0
7.13 | Supply & Install Chequered Plate for the substation / ELE room as per authorities requirements. | m2 |  |  | 0
7.14 | Supply & Install Powder Coated Aluminum Covers for Roof Bosoter Pumps | Nos. |  |  | 0
7.15 | Supply And Install Heavy Duty U/G Tank Access Manhole Cover | Nos. |  |  | 0
7.16 | Supply & Install Cat Ladder for lift machine room, lift pit, roof to top roof, inside duct | Item |  |  | 0
7.17 | Fixed Glass at Roof Top above Balcony | Item |  |  | 0
7.18 | Grating near Ramp (GF) | Item |  |  | 0
7.19 | Louvered Cover for Gas Duct | Item |  |  | 0
| Additional Items: The contractor to detail below any additional Items (with quantities and rates) shown in the drawings, mentioned in the specs. And /or required for satisfactory completion of the buildup of the lump sum project price of this section of works. Should the contractor fail to insert any Item in this section, it will be deemed that his lump sum price for the entire project included all Items and no subsequent claim for any additional Items will be entertained. |  |  |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| Total Bill No. 7 Carried To Collection |  |  |  | 0
BILL NO. 8 : FINISHING WORKS
8.01 | FLOORING WORKS
F1 | Supply & Apply Power Floated Concrete with epoxy coating Contractor rate to included all necessary works required as per specifications and & Profession Standards & Engineer Approval. | m2 |  |  | 0
F2 | Supply & Install Type 01 Natural Granite Flooring ( Prime Cost for Granite supply only rate of 300 AED/m2), Contractor rate to include all necessary works required as per specifications, profession standards & engineer approval. | m2 |  |  | 0
F3 | Supply & Install Type 02 Natural Granite Flooring ( Prime Cost for Granite supply only rate of 150 AED/m2), Contractor rate to include all necessary works required as per specifications, profession standards & engineer approval. | m2 |  |  | 0
F4 | Supply & Install Natural Marble Flooring ( Prime Cost for Marble supply only rate of 400 AED/m2), Contractor rate to include all necessary works required as per specifications, profession standards & engineer approval. | m2 |  |  | 0
F5 | Supply & Install Type 01 Porcelain Flooring Tiles Prime Cost for Tile supply only rate of 70 AED/ m2, Contractor rate to include all necessary works required as per specifications, profession standards & engineer approval. | m2 |  |  | 0
F6 | Supply & Install Type 02 Porcelain Flooring Tiles Prime Cost for Tile supply only rate of 50 AED/ m2, Contractor rate to include all necessary works required as per specifications, profession standards & engineer approval. | m2 |  |  | 0
F7 | Supply & Install Ceramic Flooring Tiles Prime Cost for Tile supply only rate of 30 AED/ m2, Contractor rate to include all necessary works required as per specifications, profession standards & engineer approval. | m2 |  |  | 0
F8 | Supply & Install Non-Slip Ceramic Flooring Tiles Prime Cost for Tile supply only rate of 40 AED/ m2, Contractor rate to include all necessary works required as per specifications, profession standards & engineer approval. | m2 |  |  | 0
8.02 | SKITRING |  |  |  | 0
S1 | Supply & Install Epoxy Coating Skirting Contractor rate to include all necessary works required as per specifications, profession standards & engineer approval. | m2 |  |  | 0
S2 | Supply & Install Natural Granite Skirting ( Prime Cost for supply only of Skirting is 50 AED / RM) Contractor rate to include all necessary works required as per specifications, profession standards & engineer approval. | m2 |  |  | 0
S3 | Supply & Install Ceramic skirting ( Prime Cost for supply only of Skirting is 20 AED / RM) Contractor rate to include all necessary works required as per specifications, profession standards & engineer approval. | m2 |  |  | 0
S4 | Supply & Install Porcelain skirting ( Prime Cost for supply only of Skirting is 15 AED / RM) Contractor rate to include all necessary works required as per specifications, profession standards & engineer approval. | m2 |  |  | 0
8.03 | WALL FINISHES |  |  |  | 0
W1 | Supply & Install Natural Marble Wall Cladding ( Prime Cost for Marble supply only rate of 500 AED/m²), Contractor rate to include all necessary works required as per specifications, profession standards & engineer approval. | m2 |  |  | 0
W2 | Supply & Install Natural Granite Wall Cladding ( Prime Cost for Marble supply only rate of 300 AED/m²), Contractor rate to include all necessary works required as per specifications, profession standards & engineer approval. | m2 |  |  | 0
W3 | Supply & Install Type 1 - Porcelain Tiles Cladding ( Prime Cost for Tiles supply only rate of 70 AED/m2), Contractor rate to include all necessary works required as per specifications, profession standards & engineer approval. | m2 |  |  | 0
W4 | Supply & Install Glazed Ceramic Wall Tiles ( Prime Cost for Tiles supply only rate of 40 AED/m2), Contractor rate to include all necessary works required as per specifications, profession standards & engineer approval. | m2 |  |  | 0
W5 | Supply & Apply Washable Emulsion Wall Paint as specified , Contractor rate to include all necessary works required as per specifications, profession standards & engineer approval. | m2 |  |  | 0
W6 | Supply & Apply Anti- Carbonation Paint System , as per Specifications , Contractor rate to include all necessary works required as per specifications, profession standards & engineer approval. | m2 |  |  | 0
W7 | Supply & Apply Semi-epoxy Paint System , as per Specifications , Contractor rate to include all necessary works required as per specifications, profession standards & engineer approval. | m2 |  |  | 0
W8 | Supply & Apply Jotasheild External Paint, as per Specifications , Contractor rate to include all necessary works required as per specifications, profession standards & engineer approval. | m2 |  |  | 0
8.04 | CEILING FINISH |  |  |  | 0
C1 | Supply & Provide Fine Tex Ceiling Spray Plaster With Emulsion Paint, as per Specifications Contractor rate to include all necessary works required as per specifications, profession standards & engineer approval. | m2 |  |  | 0
C2 | Supply & Provide Fine Tex Ceiling Spray Plaster With Anti-carbonation Paint, as per Specifications Contractor rate to include all necessary works required as per specifications, profession standards & engineer approval. | m2 |  |  | 0
C3 | Supply & Apply Two Coats of Primer for all walls and slab soffits above false ceiling level in all area except for (Kitchens and bathrooms) | m2 |  |  | 0
C4 | Supply & Apply Two Coats of Anti-fungus Paint for all walls and slab soffits above false ceiling level in (Kitchens and bathrooms) | m2 |  |  | 0
8.05 | FALSE CEILING |  |  |  | 0
FC1 | Supply & Install Moisture Resistant Gypsum Board False Ceiling, including Emulsion paint Complete with all access panels Contractor rate to include all necessary works required as per specifications, profession standards & engineer approval. | m2 |  |  | 0
FC1-a | Ditto, Bulk Head | m |  |  | 0
FC1-b | Ditto, Cove Lights | m |  |  | 0
FC2 | Supply & Install 60*60 cm Vinyl Coated Gypsum Tiles False Ceiling, including painting, Contractor rate to include all necessary works required as per specifications, profession standards & engineer approval. | m2 |  |  | 0
FC3 | Supply & Install Calcium Silicate Boards 2 Hr. Fire Resistant & Moisture Resistance False Ceiling, including painting, Contractor rate to include all necessary works required as per specifications, profession standards & engineer approval. | m2 |  |  | 0
8.06 | STEPS, TREAD & RISERS |  |  |  | 0
a | Natural Granite Steps For Type 1 Granite Flooring for Areas as per Arch Drawings (Step PC supply only Rate: 300 Dhs /RM) | m |  |  | 0
b | Natural Granite Steps For Type 2 Granite Flooring for Areas as per Arch Drawings (Step PC supply only Rate: 150 Dhs /RM) | m |  |  | 0
8.07 | MARBLE THRESHOLDS: |  |  |  | 0
a | Supply & Install Marble Door Threshold ( Prime Cost for supply only of Threshold is 100 AED / RM) For All Kitchens, Bathrooms, flat entrance, Etc. Contractor rate to include all necessary works required as per specifications, profession standards & engineer approval. | m |  |  | 0
b | Supply & Install Balconies Threshold ( Prime Cost for supply only of Threshold is 100 AED / RM) , Etc. Contractor rate to include all necessary works required as per specifications, profession standards & engineer approval. | m |  |  | 0
c | Supply & Install Shower enclosures Threshold ( Prime Cost for supply only of Threshold is 100 AED / RM) , Etc. Contractor rate to include all necessary works required as per specifications, profession standards & engineer approval. | m |  |  | 0
d | Supply & Install Marble Capping ( Prime Cost for supply only of Capping is 100 AED / RM) For All upstands behind Curtain walls. Contractor rate to include all necessary works required as per specifications, profession standards & engineer approval. | m |  |  | 0
e | Supply & Install Marble Capping ( Prime Cost for supply only of Marble is 100 AED / RM) Over WC Flushing Tank. Contractor rate to include all necessary works required as per specifications, profession standards & engineer approval. | m |  |  | 0
f | Supply & Install Marble Capping ( Prime Cost for supply only of Marble is 100 AED / RM) For Upstands around green Areas Planter Boxes. Contractor rate to include all necessary works required as per specifications, profession standards & engineer approval. | m |  |  | 0
8.08 | VANITY COUNTERS |  |  |  | 0
a | Supply & Install Vanity Counter ( Prime Cost for supply only of Counter including facia & back splash is 700 AED / RM) Contractor rate to include all necessary works required as per specifications, profession standards & engineer approval. | m |  |  | 0
8.09 | DECORATIVE EXTERNAL FINISHING |  |  |  | 0
EFS-1 | Supply & fix External Stone / Porcelain Tiles Cladding , Mechanical Fix ( Prime Cost for Supply and Fix 400 AED/m²) , as per Specifications , Contractor rate to included all necessary works required as per specifications and & Profession Standards & Engineer Approval. | m2 |  |  | 0
EFS-2 EFS-3 EFS-4 | Supply and Apply Jotasheild paint system (Type 01, 02, 03) as per specs , color to engineers approval all in accordance with specifications and for areas indicated on the finishing schedule | m2 |  |  | 0
EFS-14 | Supply & fix External Natural Granite Cladding (Prime Cost for Supply & Fix 500 AED/m²), as per Specifications, Contractor rate to include all necessary works required as per specifications, profession standards & engineer approval. | m2 |  |  | 0
| Additional Items: The contractor to detail below any additional Items (with quantities and rates) shown in the drawings, mentioned in the specs. And /or required for satisfactory completion of the buildup of the lump sum project price of this section of works. Should the contractor fail to insert any Item in this section, it will be deemed that his lump sum price for the entire project included all Items and no subsequent claim for any additional Items will be entertained. |  |  |  | 0
0
| Total Bill No. 8 Carried To Collection |  |  |  | 0
BILL NO. 9 : MECHANICAL WORKS
9.1 | Air-conditioning & Ventilation Equipment: The Contractor is referred to the Specifications and Drawings for all details related to this Section of the Works and he is to include for complying with all the requirements contained therein, whether or not they are specifically mentioned within the Items description Air-conditioning & Ventilation Equipment Supply, installation, testing & commissioning of the whole air conditioning, & ventilation system, complete as specified shown and detailed on drawings and to the approval of the engineer. |  |  |  | 0
9.11 | A/C machines and Fans: |  |  |  | 0
A | Split Duct: Supply and installation of split duct machines R-410. | Nos. |  |  | 0
B | Split Decorative: Supply and installation of split decorative machines R-410. | Nos. |  |  | 0
C | VRF System: Supply and installation of VRF system R410 as mentioned on the drawing. | Item |  |  | 0
D | Smoke Air Fans : Supply and installation of Smoke Air Fans for Smoke Management System (As Per Civil Defense Regulation and approved drawing). | Nos. |  |  | 0
E | Make-up (Fresh) Air Fans : Supply and installation of Make-up (Fresh) Air Fans for Smoke Management System (As Per Civil Defense Regulation and approved drawing). | Nos. |  |  | 0
F | Staircase Pressurization fans : Supply and installation of Pressurization Air Fan (As Per Civil Defense Regulation). | Nos. |  |  | 0
G | Lift Pressurization fans : Supply and installation of Pressurization Air Fan (As Per Civil Defense Regulation).
H | In-line Exhaust fans : Supply and installation of in-line (ducted) Exhaust fans | Nos. |  |  | 0
I | Wall mounted Exhaust fans : Supply and installation of Wall mounted Exhaust fans | Nos. |  |  | 0
J | A/C Refrigerant Copper pipes: Supply and installation of A/C Refrigerant cooper pipes work including Y connections, bends, fitting accessories, insulation, etc., completed with insulation as specs. | Item |  |  | 0
K | Controls and Monitoring System: Supply and installation of controls and monitoring system for VFR, FAHU and AHU | Item |  |  | 0
9.12 | G.I sheet duct: Supply , fabricate and install G.I sheet duct including volume splitter rod and dampers, access panels, supporting system, and connections complete in accordance with the specification |  |  |  | 0
A | Supply & return air ductwork: Supply and installation of Supply & return air ductwork | Item |  |  | 0
B | Fresh air ductwork: Supply and installation of Fresh air ductwork | Item |  |  | 0
C | Exhaust air ductwork: Supply and installation of Exhaust air ductwork | Item |  |  | 0
D | Supply & Return air duct insulation: Supply and installation of Supply & Return air duct insulation | Item |  |  | 0
E | Acoustic linear: Supply and installation of Acoustic linear to duct work(where specified or required) | Item |  |  | 0
F | Smoke Air Duct: Supply and installation of Smoke Air Duct (Fire Rated) as per Civil Defense Rules. | Item |  |  | 0
G | Make-Up Air Duct: Supply and installation of Make-Up Air Duct (Fire Rated) as per Civil Defense Rules. | Item |  |  | 0
H | Aluminum Cladding: Supply and installation of Aluminum Cladding for all External Air ducts. | Item |  |  | 0
I | Volume control dampers: Supply and installation of Volume control dampers (VCD) | Nos. |  |  | 0
J | Fire dampers: Supply and installation of Fire dampers (FD) | Nos. |  |  | 0
K | Motorized Damper: Supply and installation of Motorized Damper | Nos. |  |  | 0
L | Digital controller: Supply and installation of Digital controller (machine thermostat) | Item |  |  | 0
M | Digital controller: Supply and installation of Digital controller and master thermostat for VRF system | Item |  |  | 0
N | Cable Tray: Supply and installation all cable tray for all Ref. pipes on the roof with cover | Item |  |  | 0
O | Diffusers, Registers, Grilles and Louvers: Supply & install Diffusers, Registers, grilles and louvers in accordance with specification and drawings. | Nos. |  |  | 0
P | Diffusers: Supply and installation of Supply & Return Air Diffusers (Square, Round, Jet Diffuser) as shown on the drawing. | Nos. |  |  | 0
Q | Grilles: Supply and installation of Supply & Return Air Grilles as mentioned on the drawing. | Nos. |  |  | 0
R | Allow for Shop Drawings, material Submittal, Operation & Maintenance Manuals. | Item |  |  | 0
S | Air Curtin: Supply and installation of Air Curtin for main entrance (For all Automatic Sliding Doors even not mentioned on the drawing) | Nos. |  |  | 0
T | Paint and Identification | Item |  |  | 0
U | Testing and Commissioning | Item |  |  | 0
9.13 | Additional Items: The contractor to detail below any additional Items (with quantities and rates) shown in the drawings, mentioned in the specs. And /or required for satisfactory completion of the buildup of the lump sum project price of this section of works. Should the contractor fail to insert any Item in this section, it will be deemed that his lump sum price for the entire project included all Items and no subsequent claim for any additional Items will be entertained | Item |  |  | 0
9.2 | Domestic Cold and Hot Water System: |  |  |  | 0
9.21 | PPR Pipes: PPR pipes shall comply with DIN 8077 & 8078 DVGW inside Toilet ,Kitchen and bathroom above false ceiling with fittings including hangers, supports and accessories all in accordance with drawings and specifications |  |  |  | 0
A | 20mm dia | m |  |  | 0
B | 25mm dia | m |  |  | 0
C | 32mm dia | m |  |  | 0
D | 50mm dia | m |  |  | 0
E | 75mm dia | m |  |  | 0
F | 110mm dia | m |  |  | 0
G | Supply and installed of PPR with insulation at Roof and all exposed areas. | Item |  |  | 0
9.22 | Pex Pipes: Supply and installation of PEX pipes, conduits and wall elbows with all accessories. |  |  |  | 0
A | 15mm dia pipe & conduits | m |  |  | 0
B | 20mm dia pipe & conduits | m |  |  | 0
C | 20mm dia. Elbow box | Nos. |  |  | 0
D | 15mm dia. Elbow box | Nos. |  |  | 0
9.23 | Angle Valves: All Angle valves for completed system complete as specified |  |  |  | 0
A | 15mm diameter angle valve | Nos. |  |  | 0
B | 20mm diameter angle valve | Nos. |  |  | 0
C | 65 mm diameter angle valve | Nos. |  |  | 0
D | 80 mm diameter angle valve | Nos. |  |  | 0
E | 110mm diameter angle valve | Nos. |  |  | 0
F | Other Dim. Mentioned on the drawing: UPVC high pressure pipe work to BS 3505 class "E" with solvent welded fittings for underground main incoming and up to underground tank all in accordance with drawings and specifications | Item |  |  | 0
9.24 | Gate Valves: Supply and install the following bronze full way gate valves to BS 5154 as specified. |  |  |  | 0
A | 20mm dia | Nos. |  |  | 0
B | 25mm dia | Nos. |  |  | 0
C | 32mm dia | Nos. |  |  | 0
D | 40mm dia | Nos. |  |  | 0
E | 65mm dia | Nos. |  |  | 0
F | 80mm dia | Nos. |  |  | 0
G | 110mm dia | Nos. |  |  | 0
9.25 | Allow for the followings: |  |  |  | 0
A | Hose Union Bib Taps | Nos. |  |  | 0
B | Automatic Air Vent Valves | Nos. |  |  | 0
C | Pressure Reducing Valves | Nos. |  |  | 0
D | Ball Float valves | Nos. |  |  | 0
E | Flexible Tubes | Nos. |  |  | 0
F | Automatic switch for O.H water tanks | Nos. |  |  | 0
9.26 | Electric water Heater: Electric water Heater glass lined, with all valves, fittings and accessories as per drawing and specifications. |  |  |  | 0
A | 50 ltrs. Electric water heater | Nos. |  |  | 0
B | 80 ltrs. Electric water heater | Nos. |  |  | 0
9.27 | Water Meters Cabinet: Water meters cabinet with valves with all valves as per SEWA approval | Item |  |  | 0
9.28 | Equipment: Supply and installation of Domestic Water pumps with control panel, valves, interconnecting pipe work, all in accordance with the drawing and specifications |  |  |  | 0
A | Booster Pumps: Supply and installation of Booster pumps including pressure vessel, 2nos in (1 duty + 1 standby) with variable speed drive, control panel and all related accessories covered with aluminum louver. | SET |  |  | 0
B | Transfer Pump: Supply and installation of Cold water Transfer pump set (1 duty+1 stand by) for automatic operation and specifications of duty with control panels and all related accessories. | SET |  |  | 0
C | GRP Panel Overhead Water Tanks: Supply and installation of GRP panel overhead water tanks capacity as per approved drawings with all related accessories and automatic float switch as per project specification | Item |  |  | 0
D | Sanitary Wares: Install and fixing Sanitary wares (As per client approval) with its Accessories for complete implementation (installation only include fixing to structures, connecting to water supply and waste lines with all related final stage ) All Valves and fittings under plumbing contractor scope of work ) | Item |  |  | 0
9.29 | Additional Items: The contractor to detail below any additional Items (with quantities and rates) shown in the drawings, mentioned in the specs. And /or required for satisfactory completion of the buildup of the lump sum project price of this section of works. Should the contractor fail to insert any Item in this section, it will be deemed that his lump sum price for the entire project included all Items and no subsequent claim for any additional Items will be entertained | Item |  |  | 0
9.3 | Drainage and Waste Water Pipe Work: |  |  |  | 0
9.31 | Underground Drainage and Stack Pipe: Supply and install the following underground drainage and stack pipe to complete with all fittings ie. Elbows, Tee bend etc.., & accessories, supports, solvents and lubricants etc,all in accordance with the drawings and specifications |  |  |  | 0
A | 75 mm dia | m |  |  | 0
B | 110 mm dia | m |  |  | 0
C | 150mm dia | m |  |  | 0
9.32 | U.P.V.C. pipe work; Supply and install the following U.P.V.C. pipe work for above ground soil, waste condensate drain, rain water and vent installations to BS 4514& BS 5255 with all accessories, fittings, ie. Elbows, tee bends, etc. supports, sleeves etc. all in accordance with the drawings and specifications. |  |  |  | 0
A | 32mm dia | m |  |  | 0
B | 50mm dia | m |  |  | 0
C | 80mm dia | m |  |  | 0
D | 110mm dia | m |  |  | 0
E | 160mm dia | m |  |  | 0
9.33 | Manhole Covers (HD): Supply and install the manhole covers (HD) and frames as shown on the drawings and as per standards |  |  |  | 0
A | F.I.C Manhole | Nos. |  |  | 0
B | Manhole covers and frames 600x600 mm | Nos. |  |  | 0
C | Gully Traps as specified 300x300 WITH COVER | Nos. |  |  | 0
D | NEUTRALIZATION MH | Nos. |  |  | 0
E | Grease Trap -Class C | Nos. |  |  | 0
F | All drain with sand Bucket in green area. | Nos. |  |  | 0
9.34 | Drainage Fittings and Accessories: Install sanitary drainage fittings and accessories, all in accordance with the specification |  |  |  | 0
A | Floor clean out with covers (S/S-316). | Nos. |  |  | 0
B | Floor trap with covers (S/S-316). | Nos. |  |  | 0
C | Rain water free discharge Auto shutter (S/S-316). | Nos. |  |  | 0
D | Rain water outlet | Nos. |  |  | 0
E | Vent Cowl | Nos. |  |  | 0
9.35 | Sanitary Ware Fixtures: Install the following sanitary ware fixtures and toilet accessories, complete with necessary plumbing accessories, taps, mixers, traps etc. including all necessary connections to service, fixings, fittings all European made complete all in accordance with the specifications and drawings |  |  |  | 0
A | Water closet | Nos. |  |  | 0
B | Wash basin | Nos. |  |  | 0
C | Kitchen sink | Nos. |  |  | 0
D | Bath Tub | Nos. |  |  | 0
E | Shower tray | Nos. |  |  | 0
F | Any other Items required to form a complete system as mentioned in the specifications or detailed on the Drawings but not covered in above BOQ | Item |  |  | 0
9.36 | Additional Item: The contractor to detail below any additional Items (with quantities and rates) shown in the drawings, mentioned in the specs. And /or required for satisfactory completion of the buildup of the lump sum project price of this section of works. Should the contractor fail to insert any Item in this section, it will be deemed that his lump sum price for the entire project included all Items and no subsequent claim for any additional Items will be entertained | Item |  |  | 0
9.4 | Fire Fighting Installations: |  |  |  | 0
9.41 | Firefighting System: Supply and install the whole firefighting system, complete as specified shown and detailed on drawings and to the approval of the engineer and civil defense approval |  |  |  | 0
A | Allow for fire department connection, complete as per Civil Defense regulations | Item |  |  | 0
B | Pipe Connections to the Water Tank: Allow for all necessary pipe connections to the water tank including buddle flange and accessories complete as specified | Item |  |  | 0
C | Allow for all necessary linking between the sprinkler zone control valve tamper switch with the fire panel | Item |  |  | 0
D | Linking Between the Firefighting System and the Garbage Chute: Allow for all necessary linking between the firefighting system and the garbage chute including all necessary piping and sprinklers complete as specified | Item |  |  | 0
E | VERTICAL TURBINE Fire Pump: Supply and installation of VERTICAL TURBINE fire pump set consist of electrical pump, diesel pump, jockey pump and pressure tank. (UL/FM) the electrical and diesel pump having a capacity as per DCD approved drawing and the jockey pump as per DCD approved drawing. The set complete with motor controls, safety controls and all accessories. completed UL/FM Approval | SET |  |  | 0
F | HDPE Pipes: Supply and installation of HDPE pipes complete with all accessories (underground). | Item |  |  | 0
G | Fire Hose Cabinet: Supply and installation of all fire hose cabinet complete with valves and all accessories according to the specifications and the drawings. | Nos. |  |  | 0
H | 6kg Manual Portable Dry Chemical Fire Extinguishers: Supply and installation of 6kg manual portable dry chemical fire extinguishers complete with all accessories according to the specifications and the drawings. | Nos. |  |  | 0
I | GI pipes: Supply and installation of GI pipes Heavy duty for all FF work as mentioned on the drawing | m |  |  | 0
J | Sprinkler Heads: Supply and installation of Sprinkler Heads (All types as mentioned on the drawing) | Nos. |  |  | 0
K | Fire Blanket: Supply and installation of Fire Blanket for all kitchens | Nos. |  |  | 0
L | Pre-action system: Supply and Install Pre-action system for Generator and Lift Machine room required as per CD Regulation and Approval | Item |  |  | 0
M | FM 200 System: Supply and Install FM 200 System for all service rooms required as per CD Regulation and Approval | Item |  |  | 0
| Additional Item: The contractor to detail below any additional Items (with quantities and rates) shown in the drawings, mentioned in the specs. And /or required for satisfactory completion of the buildup of the lump sum project price of this section of works. Should the contractor fail to insert any Item in this section, it will be deemed that his lump sum price for the entire project included all Items and no subsequent claim for any additional Items will be entertained |  |  |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| Total Bill No. 9 Carried To Collection |  |  |  | 0
BILL NO. 10 : ELECTRICAL WORKS
| The Contractor is referred to the Specifications and Drawings for all details related to this Section of the Works and he is to include for complying with all the requirements contained therein, whether or not they are specifically mentioned within the Items description |  |  |  | 0
10.1 | Low Voltage Distribution: |  |  |  | 0
A | Main Distribution Panel: Supply, install, test and connect all Main panel board MDBs completed with all components as per SEWA regulation. | Nos. |  |  | 0
B | Sub-Main Distribution Panels: Supply, install, test and connect all SMDBs completed with all components as per SEWA regulation. | Nos. |  |  | 0
C | Distribution Panels: Supply, install, test and connect all DBS completed with all component as per SEWA regulation. . | Nos. |  |  | 0
D | Capacitor banks: Supply and installation of Capacitor banks | Item |  |  | 0
10.2 | Supply and install all Elec. Cables |  |  |  | 0
A | From Trans. Former to MDBs as shown in the drawings | m |  |  | 0
B | From MDB to all SMDBs as shown in the drawings | m |  |  | 0
C | From SMDBs to all DBs as shown in the drawings | m |  |  | 0
10.3 | Electrical Isolators Supply and Install Disconnect Switches (Isolators) (W/P ) IP- 65 all in accordance with specification section including all interconnecting cables, wires, trays, conduits and terminations, complete as specified |  |  |  | 0
A | LIFT | Nos. |  |  | 0
B | GSM ROOM (if any ) | Nos. |  |  | 0
C | TELE ROOM | Nos. |  |  | 0
D | BOOSTER PUMPS | Nos. |  |  | 0
E | TRANSFER PUMP | Nos. |  |  | 0
F | FIRE PUMP | Nos. |  |  | 0
G | A/C machines isolator | Nos. |  |  | 0
H | Fan isolators | Nos. |  |  | 0
I | Cradel
J | Include the electrical isolators for the Mechanical equipment (if any) | Item |  |  | 0
10.4 | Kilo-watt-hour meter: |  |  |  | 0
A | Allow for fixing only of KWH meters | Nos. |  |  | 0
10.5 | GENERATOR Supply and install Generator as per approved capacity mentioned on approved SEWA drawing including ATS, Exhaust and all related accessories | Nos.
10.6 | FEEDERS Supply, install, test and connect, inclusive of all necessary cable supports, cleats, trays, ladders, UPVC conduits trunking, trenches, manholes, accessories etc all in compliance with the details in load schedule and distribution schematic drawing and specifications/Local authority regulations. |  |  |  | 0
A | (1CX630) XLPE/SWA/PVC. | m |  |  | 0
B | 4x300mm2 XPLE Arm + ECC 150mm2 | m |  |  | 0
C | 4x240mm2 XPLE Arm + ECC 120mm2 | m |  |  | 0
D | 2(4x240mm2) XPLE Arm + ECC 2 X 120mm2 | m |  |  | 0
E | 3(4x240mm2) XPLE Arm + ECC 3 X 120mm2 | m |  |  | 0
F | 4x95mm2 XPLE Arm + ECC 50mm2 | m |  |  | 0
G | 4x70mm2 XPLE Arm + ECC 35mm2 | m |  |  | 0
H | 4x50mm2 XPLE Arm + ECC 35mm2 | m |  |  | 0
I | 4x35mm2 XPLE Arm + ECC 25mm2 | m |  |  | 0
J | 4x25mm2 XPLE Arm + ECC 16mm2 | m |  |  | 0
K | 4x16mm2 XPLE Arm + ECC 16mm2 | m |  |  | 0
L | 4x10mm2 XPLE Arm + ECC 10mm2 | m |  |  | 0
M | 4x 10mm2 + ECC 10 mm2 | m |  |  | 0
N | 4x6mm2 + ECC 6 mm2 | m |  |  | 0
O | 4x 4mm2 + ECC 4mm2 | m |  |  | 0
P | ANY OTHER CABLE SIZE MENTIONED ON THE DRAWING | Item |  |  | 0
10.7 | Provide and install heavy duty galvanized iron trunking single compartment with all-purpose made accessories and supports. As per drawing and specifications. | Item |  |  | 0
10.8 | Provide and install heavy duty Elec. M.H As per drawing and specifications. | Item |  |  | 0
10.9 | Provide and install heavy duty cable trays with purpose made accessories and supports. As per drawing and specifications. | Item |  |  | 0
10.1 | Earthing System: Supply, install, test, commission and maintain complete earthing system in accordance with the drawings and specifications, as shown on drawing and as specified but not necessarily limited to the following |  |  |  | 0
A | Solid Copper rods | m |  |  | 0
B | Copper conductor | Nos. |  |  | 0
10.11 | Earth Pits: |  |  |  | 0
A | Concrete pit with removable cover | Item |  |  | 0
B | Allow for other miscellaneous work in connection with the earthing system | Item |  |  | 0
10.12 | Final sub-circuit and auxiliary installation |  |  |  | 0
A | Simplex switched socket outlet, 13A | Nos. |  |  | 0
B | Duplex switched socket outlet, 13A | Nos. |  |  | 0
C | Simplex switched socket outlet, 13A water proof | Nos. |  |  | 0
D | Duplex switched socket outlet, 13A water proof | Nos. |  |  | 0
E | 20A DP switch & Flex outlet for water heater | Nos. |  |  | 0
F | Fused connected unit with flex outlet, unswitched 13A fuse | Nos. |  |  | 0
G | Fused connected unit with flex outlet, switched 13A | Nos. |  |  | 0
H | Flex outlet, ceiling, mural | Nos. |  |  | 0
I | Supply and installation of FLOOR BOX (IP66) As shown on the drawing | Nos. |  |  | 0
10.13 | Lighting Installation: Final sub-circuit and auxiliary installation to the following in accordance with Specification |  |  |  | 0
A | Light Fittings and Fixtures: Install all light fittings and fixtures(internal and external lights ) including all necessary fixings and accessories complete in accordance with the drawings, luminaire schedule document and specification | Item |  |  | 0
10.14 | Cable and conduit in concealed installations |  |  |  | 0
A | Lighting points, generally | Item |  |  | 0
B | Lighting switch points | Item |  |  | 0
C | Exit sign light | Item |  |  | 0
D | EM light | Item |  |  | 0
10.15 | Supply and install Switching Accessories |  |  |  | 0
A | One-way one gang lighting switch | Nos. |  |  | 0
B | One-way two gang lighting switch | Nos. |  |  | 0
C | One-way three gang lighting switch | Nos. |  |  | 0
D | Two-way one gang lighting switch | Nos. |  |  | 0
E | Two-way two gang lighting switch | Nos. |  |  | 0
F | Light Switch Panel for the public areas | Nos. |  |  | 0
G | Timer Switch | Nos. |  |  | 0
H | Stair case Push Button switch | Nos. |  |  | 0
10.16 | Electrical Services for mechanical works |  |  |  | 0
A | Empty conduits and draw wires between FCU's and thermostats also between C.U and Isolators (for wiring by AC contractor) | Item |  |  | 0
B | Empty conduit and draw wires between Ex.fan and controls of AC systems ( for wiring by others) | Item |  |  | 0
C | Empty conduit and draw wires between sensors and controls of AC systems ( for wiring by others) | Item |  |  | 0
10.17 | Exit Sign Fittings: Supply and install the following light fittings including connections to permanent wiring system, in accordance with the drawings, luminaire schedule document and specification |  |  |  | 0
A | Wall mounted Exit Lighting fixture(Monitoring Type as per civil defense approved drawing) | Nos. |  |  | 0
B | Ceiling mounted Emergency Light with Exit sign / Arrows Monitoring Type as per civil defense approved drawing) | Nos. |  |  | 0
10.18 | Emergency Sign Fittings: Supply and Install the following light fittings including connections to permanent wiring system, in accordance with the drawings, luminaire schedule document and specification |  |  |  | 0
A | Wall mounted Emergency Light fixture | Nos. |  |  | 0
B | Ceiling mounted Emergency Light Fixture | Nos. |  |  | 0
C | Fire rated cables to distribution board | Item |  |  | 0
D | Distribution Boards | Item |  |  | 0
E | Easy check panels | Item |  |  | 0
F | Communication cable | Item |  |  | 0
G | Allow for any other miscellaneous work in connection to Monitoring Type as per civil defense approved drawing) | Item |  |  | 0
10.19 | PA Sound System: Supply and install, test, commission and maintain complete PA sound system completed as mentioned on the drawing and project specs | Item |  |  | 0
10.2 | Telephone system: Supply, install test, commission and maintain complete Etisalat System as per Etisalat regulation including all component in main tel. room and necessary cabling and termination, cable management system all in accordance with drawings and specification, section but not necessarily limited to the following |  |  |  | 0
A | Supply and installation of Etisalat points (RJ45 sockets and cat 6 wiring for all sockets and FLOOR BOXES as mentioned on the drawing ). | Nos. |  |  | 0
B | Supply and installation of Etisalat ONT Box | Nos. |  |  | 0
C | supply and installation of Etisalat M.H cover (Heavy Duty) | Nos. |  |  | 0
D | supply and installation of junction Box ( Elec., Etis., MATV…) . | Nos. |  |  | 0
10.21 | IP Based CCTV SYSTEM: Supply, install test, commission and maintain complete IP Based CCTV System all as shown on the drawing and project specification. | Item |  |  | 0
10.22 | Fire Alarm System: Supply, install, test and commission, maintain in accordance with the drawings and specification and Civil Defense approval, the complete Fire Alarm system including cabling, conducting and power connection for, but not necessarily limited to the following: |  |  |  | 0
10.221 | Cable and conduit in concealed installations to the following: |  |  |  | 0
A | Addressable Fire Alarm Control Panels and repeater as per approved shop dwg | Item |  |  | 0
B | Heat Detector with Base | Item |  |  | 0
C | Optical Smoke Sensor with Base | Item |  |  | 0
D | Optical Smoke Sensor with Sounder | Item |  |  | 0
E | Smoke Sensor with Base | Item |  |  | 0
F | Fire alarm Bell | Item |  |  | 0
G | Fire alarm Bell W/P | Item |  |  | 0
H | Fire phone jack | Item |  |  | 0
I | Carbon monoxide detector | Item |  |  | 0
J | Break Glass Unit | Item |  |  | 0
K | Break Glass Unit W/P | Item |  |  | 0
L | Fire Alarm Flasher | Item |  |  | 0
M | Combined Sound / Flasher | Item |  |  | 0
N | Sounder | Item |  |  | 0
O | Wall Mounted /Recessed fire alarm speaker with flasher but W/P | Item |  |  | 0
P | Control to be connected to any building automation system: Automatic doors,Lifts, Smoke fans, Make up fan With all motorized dampers, F.A.H.U, AHU, Fire damper and Gate Barriers. | Item |  |  | 0
Q | Supply and installation of VOICE EVACUATION completed system (VICP, Conduits , Wires ,Sound speakers,…etc) as per Civil defense regulation , drawing and project specs | Item |  |  | 0
10.23 | Sundry/General Items |  |  |  | 0
A | Allow for providing all requirements of Telephone service provider insider DIC room and typical floor telephone rooms including raised floor, power points, etc. | Item |  |  | 0
B | Allow for fire stopping and fire sealed around all services vertical / horizontal and all electrical openings in accordance with the drawings, specification and local authorities requirements | Item |  |  | 0
C | Allow for all builders work in connection with providing holes, sleeves, mortises, chases, supports and the like and making good | Item |  |  | 0
D | Allow for plates, labels, protective painting etc., and for the identification of the installation as specified | Item |  |  | 0
E | Allow for testing and commissioning as specified | Item |  |  | 0
F | All incidental work | Item |  |  | 0
G | Allow for protective and decorative painting/powder coated for final DBS enclosures | Item |  |  | 0
H | Allow for any additional Item not included above but necessary for the successful completion of the electrical installation and other Low current services. | Item |  |  | 0
I | Allow for drawings, manuals, submittal, samples inspections and introduction book. | Item |  |  | 0
J | Allow for painting and identification ( Only protective painting is included ) | Item |  |  | 0
K | Allow for testing and commissioning | Item |  |  | 0
L | Allow for Training of Employer's Operation and Maintenance Staffs | Item |  |  | 0
M | Allow for Maintenance as required only up to defects liability period | Item |  |  | 0
N | Allow for all builder's work | Item |  |  | 0
10.24 | SMATV System: Supply and install, test, commission and maintain complete SMATV system to receive all free to air channels and to have IF distribution signal including necessary cabling and termination, cable management system all in accordance with drawings and specification, section @ least 2 active points in each flat or as mentioned on the drawing. | Item |  |  | 0
| ADDITIONAL ItemS: The contractor to detail below any additional Items (with quantities and rates) shown in the drawings, mentioned in the specs. And /or required for satisfactory completion of the buildup of the lump sum project price of this section of works. Should the contractor fail to insert any Item in this section, it will be deemed that his lump sum price for the entire project included all Items and no subsequent claim for any additional Items will be entertained |  |  |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| Total Bill No. 10 Carried To Collection |  |  |  | 0
BILL NO. 11: NATURAL GAS SYSTEM
11.1 | Supply and install the whole Natural gas system, complete as specified shown and detailed on Drawings and to the approval of the Engineer & SEWA Gas section: |  |  |  | 0
a | Gas governor, gas meters and valves on the wall and Gas room in Typ. Floor. | L.S |  |  | 0
b | Gas regulator valve | Nos. |  |  | 0
c | Gas quick shut off valve | Nos. |  |  | 0
d | Underground gas pipes (PE-80 pipe). | m |  |  | 0
e | Copper Gas pipes | m |  |  | 0
11.2 | Additional Item: The contractor to detail below any additional Items (with quantities and rates) shown in the drawings, mentioned in the specs. And /or required for satisfactory completion of the buildup of the lump sum project price of this section of works. Should the contractor fail to insert any Item in this section, it will be deemed that his lump sum price for the entire project included all Items and no subsequent claim for any additional Items will be entertained | L.S |  |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| Total Bill No. 11 Carried To Collection |  |  |  | 0
BILL NO. 12 : EXTERNAL WORKS
12.01 | Supply & Provide all Works for Manholes ,Contractor rate to included all necessary works required as per specifications and & Profession Standards & Engineer Approval. | L.S. |  |  | 0
12.02 | Supply & Provide 6 CM Thick Interlocking Pavement for Foot/ Walk Area (Inside plot limit) as indicated by the Drawings ,Contractor rate to included all necessary works required as per specifications and & Profession Standards & Engineer Approval. | m2 |  |  | 0
12.03 | Supply & Provide 6 CM Thick Interlocking Pavement for Foot/ Walk Area (outside plot limit) as indicated by the Drawings ,Contractor rate to included all necessary works required as per specifications and & Profession Standards & Engineer Approval. | m2 |  |  | 0
12.04 | Supply & Provide 8 CM Thick Interlocking Pavement for Parking / Drive Way (Inside plot limit) as indicated by the Drawings ,Contractor rate to included all necessary works required as per specifications and & Profession Standards & Engineer Approval. | m2 |  |  | 0
12.05 | Supply & Provide 8 CM Thick Interlocking Pavement for Parking / Drive Way (outside plot limit) as indicated by the Drawings ,Contractor rate to included all necessary works required as per specifications and & Profession Standards & Engineer Approval. | m2 |  |  | 0
12.06 | Supply & Provide Curbstone, Contractor rate to included all necessary works required as per specifications and & Profession Standards & Engineer Approval. | Rm |  |  | 0
| Additional Items: The contractor to detail below any additional items (with quantities and rates) shown in the drawings, mentioned in the specs. And /or required for satisfactory completion of the buildup of the lump sum project price of this section of works. Should the contractor fail to insert any item in this section, it will be deemed that his lump sum price for the entire project included all items and no subsequent claim for any additional items will be entertained. |  |  |  | 0
| Total Bill No. 12 Carried To Collection |  |  |  | 0
BILL NO. 13 : FITTING, FIXTURES & EQUIPMENT
13.01 | Supply & Fix Bathrooms Mirrors as indicated by the Drawings Contractor rate to included all necessary works required as per specifications and & Profession Standards & Engineer Approval. | Item |  |  | 0
13.02 | Supply & Fix Garbage Chute Grade 316 S.S. as indicated by the Drawings and Specifications, Contractor rate to included all necessary works required as per specifications and & Profession Standards & Engineer Approval. | Item |  |  | 0
13.03 | Supply & Fix Traffic Mirrors & Signage for Parking Area as indicated by the Drawings Contractor rate to included all necessary works required as per specifications and & Profession Standards & Engineer Approval. | Item |  |  | 0
13.04 | Supply & Fix Column Guard as indicated by the Drawings Contractor rate to included all necessary works required as per specifications and & Profession Standards & Engineer Approval. | Nos. |  |  | 0
13.05 | Supply & Fix Wall Guard as indicated by the Drawings Contractor rate to included all necessary works required as per specifications and & Profession Standards & Engineer Approval. | m |  |  | 0
13.06 | Supply & Fix RCC Wheel Stop as indicated by the Drawings Contractor rate to included all necessary works required as per specifications and & Profession Standards & Engineer Approval. | Nos. |  |  | 0
13.07 | Supply & Fix Speed Humps as indicated by the Drawings Contractor rate to included all necessary works required as per specifications and & Profession Standards & Engineer Approval. | Nos. |  |  | 0
13.08 | Supply and Fix Exhaust Shaft/ Pipe for Restaurants/ Shops, G.I sheet duct to External Elevation. all in accordance with relevant drawings and specifications, authority approval, and Contractor rate to include all necessary works required per professional standards & Engineer Approval. | item |  |  | 0
| Additional Items: The contractor to detail below any additional items (with quantities and rates) shown in the drawings, mentioned in the specs. And /or required for satisfactory completion of the buildup of the lump sum project price of this section of works. Should the contractor fail to insert any item in this section, it will be deemed that his lump sum price for the entire project included all items and no subsequent claim for any additional items will be entertained. |  |  |  | 0
0
0
0
0
0
| Total Bill No. 13 Carried To Collection |  |  |  | 0
BILL NO. 14 : PROVISIONAL SUMS WORKS
14.1 | SANITARY WARES Include the following provisional sum amounts for Supply only of Sanitary Ware and Accessories. |  |  |  | 0
a | WC Seat & Accessories ( PC Supply only rate: AED 1,800 / each) | Nos. |  | 1800 | 0
b | Wash Basin, mixer & Accessories ( PC Supply only rate: AED 900 /each) | Nos. |  | 900 | 0
c | Shower Mixer and Set ( PC Supply only rate: AED 500 /each) | Nos. |  | 500 | 0
d | Shower enclosure Full Shower Length including sliding doors ( PC Supply only rate: AED 1000 /m) | m |  | 1000 | 0
e | Add for overhead and profits |  |  |  | 0
| Add for Attendance and assistance |  |  | 0% | 0
| Add for builders works |  |  |  | 0
14.2 | Include a provisional sum of AED 300,000 for the supply of External and Internal Lighting Fixtures | PS | 1 | 300000 | 300000
a | Add for overhead and profits |  |  |  | 0
| Add for Attendance and assistance |  |  | 0% | 0
| Add for builders works |  |  |  | 0
14.3 | Include a provisional sum of AED 1,050,000 For the supply of and Installation of Elevators . | PS | 1 | 1050000 | 1050000
a | Add for overhead and profits |  |  |  | 0
| Add for Attendance and assistance |  |  | 0% | 0
| Add for builders works |  |  |  | 0
14.4 | Include a provisional sum of AED 45,000 for the supply of Building Internal Signage | PS | 1 | 45000 | 45000
a | Add for overhead and profits |  |  |  | 0
| Add for Attendance and assistance |  |  | 0% | 0
| Add for builders works |  |  |  | 0
14.5 | Include a provisional sum of AED 15,000 for the supply & Install of Reception Counter | PS | 1 | 15000 | 15000
a | Add for overhead and profits |  |  |  | 0
| Add for Attendance and assistance |  |  | 0% | 0
| Add for builders works |  |  |  | 0
14.6 | Include a provisional sum of AED 30,000 for the supply & Install of the following: Building External Signage | PS | 1 | 30000 | 30000
a | Add for overhead and profits |  |  |  | 0
| Add for Attendance and assistance |  |  | 0% | 0
| Add for builders works |  |  |  | 0
| Total Bill No. 14 Carried To Collection |  |  |  | 1440000

## SUMMARY
COLLECTION OF BILLS No. 1 to 14 : SUMMARY PAGE
1 | PRELIMINARIES | 0
2 | SUB-STRUCTURE | 0
3 | SUPER-STRUCTURE | 0
4 | BLOCKWORK | 0
5 | WATERPROOFING WORKS | 0
6 | CARPENTRY& JOINERY WORKS | 0
7 | METAL & GLAZING WORKS | 0
8 | FINISHING WORKS | 0
9 | MECHANICAL WORKS | 0
10 | ELECTRICAL SYSTEM | 0
11 | NATURAL GAS SYSTEM | 0
12 | EXTERNAL WORKS | 0
13 | FITTING, FIXTURES & EQUIPMENT | 0
14 | PROVISIONAL SUMS | 1440000
SUB-TOTAL (Before Discount) |  | 1440000
Tenderer's Price Adjustment, Discount (%)
GRAND TOTAL PROJECT PRICE (AED) |  | 1440000
TOTAL AMOUNT IN WORDS
Dhs…...............................................................................................................................................
…...…...........................................................................................................................................
SIGNATURE OF TENDERER STAMP OF TENDERER