## BOQ
Bill No. | Item No. | Sub-Item | Description | Qty | Unit
1 |  |  | GENERAL REQUIREMENTS
| 1.01 |  | Site Mobilization and Setup
|  | a | a) Mobilization of plant and equipment | 1 | LS
|  | b | b) Site office and welfare facilities | 1 | LS
|  | c | c) Temporary fencing and hoarding | 250 | lm
| 1.02 |  | Insurance and Bonds | 1 | LS
| 1.03 |  | Health, Safety & Environment
|  | a | a) HSE plan implementation | 1 | LS
|  | b | b) PPE and safety equipment | 1 | LS
| 1.04 |  | Temporary Utilities | 6 | month
| 1.05 |  | Demobilization and Clearance | 1 | LS
2 |  |  | SUBSTRUCTURE
| 2.01 |  | Excavation Works
|  | a | a) Excavation in all soil types incl. disposal | 2500 | m3
|  | b | b) Anti-termite treatment | 800 | m2
|  | c | c) Backfilling with approved material | 1800 | m3
| 2.02 |  | Foundation Works
|  | a | a) Plain concrete blinding (C15, 75mm) | 800 | m2
|  | b | b) Reinforced concrete raft foundation (C40) | 450 | m3
|  | c | c) Steel reinforcement Grade 60 | 54000 | kg
|  | d | d) Waterproofing membrane to foundation | 800 | m2
3 |  |  | SUPERSTRUCTURE
| 3.01 |  | Concrete Frame
|  | a | a) RC columns (C40) | 120 | m3
|  | b | b) RC beams (C40) | 180 | m3
|  | c | c) RC slabs (C40, 200mm) | 2400 | m2
|  | d | d) RC core walls (C40) | 85 | m3
| 3.02 |  | Reinforcement and Formwork
|  | a | a) Steel reinforcement for superstructure | 156000 | kg
|  | b | b) Formwork to all concrete elements | 4800 | m2
| 3.03 |  | Precast and Steel
|  | a | a) Precast concrete staircase with landings | 12 | nos
|  | b | b) Structural steel roof trusses incl. connections | 25 | ton
4 |  |  | ARCHITECTURAL WORKS
| 4.01 |  | Masonry Works
|  | a | a) External blockwork (200mm AAC) | 3200 | m2
|  | b | b) Internal blockwork (150mm AAC) | 2800 | m2
|  | c | c) Internal partitions (100mm AAC) | 1500 | m2
| 4.02 |  | Plastering
|  | a | a) External cement plaster (20mm, 2 coats) | 3200 | m2
|  | b | b) Internal cement plaster (15mm) | 8000 | m2
| 4.03 |  | Floor and Wall Finishes
|  | a | a) Porcelain floor tiles 600x600mm | 2200 | m2
|  | b | b) Ceramic wall tiles to wet areas | 850 | m2
|  | c | c) Granite flooring to lobby | 350 | m2
|  | d | d) Raised access flooring | 1200 | m2
| 4.04 |  | Ceilings and Painting
|  | a | a) Suspended gypsum board ceiling | 2400 | m2
|  | b | b) Metal strip ceiling to corridors | 600 | m2
|  | c | c) Internal painting (3 coats emulsion) | 8000 | m2
|  | d | d) External painting (3 coats weather-shield) | 3200 | m2
| 4.05 |  | Doors, Windows and Glazing
|  | a | a) Aluminium curtain wall (double glazed, low-e) | 450 | m2
|  | b | b) Aluminium windows (double glazed) | 120 | m2
|  | c | c) Solid core timber doors with ironmongery | 85 | nos
|  | d | d) Fire rated doors (2hr) with hardware | 24 | nos
|  | e | e) Automatic sliding glass entrance doors | 4 | nos
| 4.06 |  | Waterproofing and Insulation
|  | a | a) Roof waterproofing (torch-applied, 2 layers) | 2400 | m2
|  | b | b) Thermal insulation to roof (50mm XPS) | 2400 | m2
|  | c | c) Wet area waterproofing (liquid membrane) | 850 | m2
5 |  |  | MECHANICAL WORKS
| 5.01 |  | HVAC System
|  | a | a) Chilled water AHU units | 8 | nos
|  | b | b) Fan coil units (various capacities) | 65 | nos
|  | c | c) VRF outdoor units | 4 | nos
|  | d | d) Chilled water piping with insulation | 850 | lm
|  | e | e) GI ductwork incl. fittings | 3200 | kg
|  | f | f) Air grilles and diffusers | 280 | nos
|  | g | g) BMS integration for HVAC | 1 | LS
| 5.02 |  | Plumbing and Drainage
|  | a | a) Hot and cold water piping (PPR) | 1200 | lm
|  | b | b) Drainage piping (uPVC) | 900 | lm
|  | c | c) Sanitary fixtures complete | 48 | set
|  | d | d) Electric water heaters | 12 | nos
|  | e | e) GRP water storage tank 20m3 | 2 | nos
|  | f | f) Booster pump set (duplex) | 1 | set
| 5.03 |  | Fire Protection
|  | a | a) Fire sprinkler system complete | 2400 | m2
|  | b | b) Fire hose reels with cabinets | 16 | nos
|  | c | c) Portable fire extinguishers | 35 | nos
|  | d | d) Addressable fire alarm panel | 1 | nos
|  | e | e) Smoke detectors (addressable) | 180 | nos
|  | f | f) Fire pump set (electric+diesel+jockey) | 1 | set
6 |  |  | ELECTRICAL WORKS
| 6.01 |  | Power Distribution
|  | a | a) Main distribution board (4000A) | 1 | nos
|  | b | b) Sub-main distribution boards | 8 | nos
|  | c | c) Final distribution boards | 24 | nos
|  | d | d) Power cables (XLPE/SWA) | 4500 | lm
|  | e | e) Cable trays and ladders (GI) | 1200 | lm
|  | f | f) Earthing and lightning protection | 1 | LS
| 6.02 |  | Lighting
|  | a | a) LED recessed panels 600x600 (40W) | 320 | nos
|  | b | b) LED downlights (15W adjustable) | 180 | nos
|  | c | c) Emergency lights with battery | 85 | nos
|  | d | d) Exit signs (illuminated) | 45 | nos
|  | e | e) External facade LED lighting | 450 | lm
|  | f | f) Landscape LED pole lights | 25 | nos
| 6.03 |  | Low Current Systems
|  | a | a) Structured cabling (Cat6A) | 200 | nos
|  | b | b) CCTV system (IP, NVR, storage) | 1 | LS
|  | c | c) Access control system | 1 | LS
|  | d | d) PA and voice evacuation | 1 | LS
|  | e | e) VOIP telephone (100 ext) | 1 | LS
|  | f | f) Standby diesel generator 500KVA | 1 | nos
|  | g | g) UPS 100KVA online double conversion | 1 | nos
7 |  |  | EXTERNAL WORKS
| 7.01 |  | Roads and Paving
|  | a | a) Asphalt paving to parking (75mm+150mm) | 3500 | m2
|  | b | b) Interlocking paver blocks to walkways | 800 | m2
|  | c | c) Precast concrete kerbs | 650 | lm
| 7.02 |  | Landscaping and Utilities
|  | a | a) Soft landscaping (trees, shrubs, turf) | 1200 | m2
|  | b | b) Automatic irrigation system | 1200 | m2
|  | c | c) External drainage and manholes | 1 | LS
| 7.03 |  | Boundary and Access
|  | a | a) Precast boundary wall (2.4m high) | 180 | lm
|  | b | b) Automatic sliding entrance gate (6m) | 2 | nos
8 |  |  | PROVISIONAL SUMS AND DAYWORKS
| 8.01 |  | Provisional Sums | 1 | LS
| 8.02 |  | Daywork Allowance | 1 | LS

## Instructions
BAYAN TENDER MANAGEMENT SYSTEM
BILL OF QUANTITIES
IMPORTANT INSTRUCTIONS:
1. Do NOT modify the column headers in the 'BOQ' sheet.
2. The system auto-detects columns by header name.
3. Required headers: "Bill No.", "Item No.", "Sub-Item", "Description", "Qty", "Unit"
BOQ HIERARCHY:
This BOQ uses a 3-level hierarchy:
- BILL (Level 1): Major trade sections (dark blue rows)
- ITEM / ITEM GROUP (Level 2): Work categories within a bill (light blue rows for groups, white for standalone items)
- SUB-ITEM (Level 3): Individual line items within a group (indented, lettered a, b, c...)
Example:
Bill 1 - GENERAL REQUIREMENTS
1.01 - Site Mobilization and Setup (item group)
a) Mobilization of plant and equipment
b) Site office and welfare facilities
1.02 - Insurance and Bonds (standalone item with qty/unit)
FOR TENDER MANAGERS:
4. Bill rows have Bill No. and Description only (dark blue).
5. Item group rows have Item No. and Description only (light blue).
6. Standalone items have Item No., Description, Qty, and Unit.
7. Sub-items have Sub-Item letter, Description, Qty, and Unit.
8. Bayan auto-detects the hierarchy from row styling and column presence.
9. Valid UOM codes: m2, sqft, lm, m, nos, kg, ton, ltr, m3, set, lot, LS, day, week, month, %
SUPPORTED FILE FORMATS:
- .xlsx (recommended)
- .xls
- .csv
COLUMN AUTO-DETECTION KEYWORDS:
- Bill Number: "Bill No.", "Bill #", "Bill"
- Item Number: "Item No.", "Item #", "Ref", "Code"
- Sub-Item: "Sub-Item", "Sub Item", "Sub", "Detail"
- Description: "Description", "Particulars", "Detail", "Scope"
- Quantity: "Qty", "Quantity", "Est. Qty"
- UOM: "Unit", "UOM", "Unit of Measurement"
- Unit Rate: "Unit Rate", "Rate", "Unit Price", "Price"
- Amount: "Amount", "Total", "Total Amount", "Value"
- Notes: "Notes", "Remarks", "Comments"