## BOQ
Bill No. | Item No. | Sub-Item | Description | Qty | Unit | Unit Rate | Amount
1 |  |  | GENERAL REQUIREMENTS |  |  |  | 685250
| 1.01 |  | Site Mobilization and Setup |  |  |  | 351750
|  | a | a) Mobilization of plant and equipment | 1 | LS | 195000 | 195000
|  | b | b) Site office and welfare facilities | 1 | LS | 118000 | 118000
|  | c | c) Temporary fencing and hoarding | 250 | lm | 155 | 38750
| 1.02 |  | Insurance and Bonds | 1 | LS | 88000 | 88000
| 1.03 |  | Health, Safety & Environment |  |  |  | 98500
|  | a | a) HSE plan implementation | 1 | LS | 82000 | 82000
|  | b | b) PPE and safety equipment | 1 | LS | 16500 | 16500
| 1.04 |  | Temporary Utilities | 6 | month | 16500 | 99000
| 1.05 |  | Demobilization and Clearance | 1 | LS | 48000 | 48000
2 |  |  | SUBSTRUCTURE |  |  |  | 1265800
| 2.01 |  | Excavation Works |  |  |  | 311600
|  | a | a) Excavation in all soil types incl. disposal | 2500 | m3 | 72 | 180000
|  | b | b) Anti-termite treatment | 800 | m2 | 25 | 20000
|  | c | c) Backfilling with approved material | 1800 | m3 | 62 | 111600
| 2.02 |  | Foundation Works |  |  |  | 954200
|  | a | a) Plain concrete blinding (C15, 75mm) | 800 | m2 | 90 | 72000
|  | b | b) Reinforced concrete raft foundation (C40) | 450 | m3 | 1180 | 531000
|  | c | c) Steel reinforcement Grade 60 | 54000 | kg | 5.2 | 280800
|  | d | d) Waterproofing membrane to foundation | 800 | m2 | 88 | 70400
3 |  |  | SUPERSTRUCTURE |  |  |  | 3164000
| 3.01 |  | Concrete Frame |  |  |  | 1262200
|  | a | a) RC columns (C40) | 120 | m3 | 1380 | 165600
|  | b | b) RC beams (C40) | 180 | m3 | 1420 | 255600
|  | c | c) RC slabs (C40, 200mm) | 2400 | m2 | 298 | 715200
|  | d | d) RC core walls (C40) | 85 | m3 | 1480 | 125800
| 3.02 |  | Reinforcement and Formwork |  |  |  | 1412400
|  | a | a) Steel reinforcement for superstructure | 156000 | kg | 4.9 | 764400
|  | b | b) Formwork to all concrete elements | 4800 | m2 | 135 | 648000
| 3.03 |  | Precast and Steel |  |  |  | 489400
|  | a | a) Precast concrete staircase with landings | 12 | nos | 16200 | 194400
|  | b | b) Structural steel roof trusses incl. connections | 25 | ton | 11800 | 295000
4 |  |  | ARCHITECTURAL WORKS |  |  |  | 5336850
| 4.01 |  | Masonry Works |  |  |  | 1018600
|  | a | a) External blockwork (200mm AAC) | 3200 | m2 | 155 | 496000
|  | b | b) Internal blockwork (150mm AAC) | 2800 | m2 | 132 | 369600
|  | c | c) Internal partitions (100mm AAC) | 1500 | m2 | 102 | 153000
| 4.02 |  | Plastering |  |  |  | 552000
|  | a | a) External cement plaster (20mm, 2 coats) | 3200 | m2 | 60 | 192000
|  | b | b) Internal cement plaster (15mm) | 8000 | m2 | 45 | 360000
| 4.03 |  | Floor and Wall Finishes |  |  |  | 1166350
|  | a | a) Porcelain floor tiles 600x600mm | 2200 | m2 | 198 | 435600
|  | b | b) Ceramic wall tiles to wet areas | 850 | m2 | 175 | 148750
|  | c | c) Granite flooring to lobby | 350 | m2 | 480 | 168000
|  | d | d) Raised access flooring | 1200 | m2 | 345 | 414000
| 4.04 |  | Ceilings and Painting |  |  |  | 699600
|  | a | a) Suspended gypsum board ceiling | 2400 | m2 | 135 | 324000
|  | b | b) Metal strip ceiling to corridors | 600 | m2 | 210 | 126000
|  | c | c) Internal painting (3 coats emulsion) | 8000 | m2 | 20 | 160000
|  | d | d) External painting (3 coats weather-shield) | 3200 | m2 | 28 | 89600
| 4.05 |  | Doors, Windows and Glazing |  |  |  | 1273450
|  | a | a) Aluminium curtain wall (double glazed, low-e) | 450 | m2 | 1180 | 531000
|  | b | b) Aluminium windows (double glazed) | 120 | m2 | 920 | 110400
|  | c | c) Solid core timber doors with ironmongery | 85 | nos | 3050 | 259250
|  | d | d) Fire rated doors (2hr) with hardware | 24 | nos | 9200 | 220800
|  | e | e) Automatic sliding glass entrance doors | 4 | nos | 38000 | 152000
| 4.06 |  | Waterproofing and Insulation |  |  |  | 626850
|  | a | a) Roof waterproofing (torch-applied, 2 layers) | 2400 | m2 | 132 | 316800
|  | b | b) Thermal insulation to roof (50mm XPS) | 2400 | m2 | 92 | 220800
|  | c | c) Wet area waterproofing (liquid membrane) | 850 | m2 | 105 | 89250
5 |  |  | MECHANICAL WORKS |  |  |  | 3326650
| 5.01 |  | HVAC System |  |  |  | 2057100
|  | a | a) Chilled water AHU units | 8 | nos | 92000 | 736000
|  | b | b) Fan coil units (various capacities) | 65 | nos | 4800 | 312000
|  | c | c) VRF outdoor units | 4 | nos | 135000 | 540000
|  | d | d) Chilled water piping with insulation | 850 | lm | 198 | 168300
|  | e | e) GI ductwork incl. fittings | 3200 | kg | 35 | 112000
|  | f | f) Air grilles and diffusers | 280 | nos | 310 | 86800
|  | g | g) BMS integration for HVAC | 1 | LS | 102000 | 102000
| 5.02 |  | Plumbing and Drainage |  |  |  | 619200
|  | a | a) Hot and cold water piping (PPR) | 1200 | lm | 92 | 110400
|  | b | b) Drainage piping (uPVC) | 900 | lm | 72 | 64800
|  | c | c) Sanitary fixtures complete | 48 | set | 4800 | 230400
|  | d | d) Electric water heaters | 12 | nos | 3800 | 45600
|  | e | e) GRP water storage tank 20m3 | 2 | nos | 48000 | 96000
|  | f | f) Booster pump set (duplex) | 1 | set | 72000 | 72000
| 5.03 |  | Fire Protection |  |  |  | 650350
|  | a | a) Fire sprinkler system complete | 2400 | m2 | 60 | 144000
|  | b | b) Fire hose reels with cabinets | 16 | nos | 3800 | 60800
|  | c | c) Portable fire extinguishers | 35 | nos | 490 | 17150
|  | d | d) Addressable fire alarm panel | 1 | nos | 92000 | 92000
|  | e | e) Smoke detectors (addressable) | 180 | nos | 380 | 68400
|  | f | f) Fire pump set (electric+diesel+jockey) | 1 | set | 268000 | 268000
6 |  |  | ELECTRICAL WORKS |  |  |  | 3425840
| 6.01 |  | Power Distribution |  |  |  | 1581900
|  | a | a) Main distribution board (4000A) | 1 | nos | 198000 | 198000
|  | b | b) Sub-main distribution boards | 8 | nos | 27000 | 216000
|  | c | c) Final distribution boards | 24 | nos | 9200 | 220800
|  | d | d) Power cables (XLPE/SWA) | 4500 | lm | 135 | 607500
|  | e | e) Cable trays and ladders (GI) | 1200 | lm | 198 | 237600
|  | f | f) Earthing and lightning protection | 1 | LS | 102000 | 102000
| 6.02 |  | Lighting |  |  |  | 479940
|  | a | a) LED recessed panels 600x600 (40W) | 320 | nos | 310 | 99200
|  | b | b) LED downlights (15W adjustable) | 180 | nos | 198 | 35640
|  | c | c) Emergency lights with battery | 85 | nos | 380 | 32300
|  | d | d) Exit signs (illuminated) | 45 | nos | 490 | 22050
|  | e | e) External facade LED lighting | 450 | lm | 135 | 60750
|  | f | f) Landscape LED pole lights | 25 | nos | 9200 | 230000
| 6.03 |  | Low Current Systems |  |  |  | 1364000
|  | a | a) Structured cabling (Cat6A) | 200 | nos | 920 | 184000
|  | b | b) CCTV system (IP, NVR, storage) | 1 | LS | 198000 | 198000
|  | c | c) Access control system | 1 | LS | 135000 | 135000
|  | d | d) PA and voice evacuation | 1 | LS | 92000 | 92000
|  | e | e) VOIP telephone (100 ext) | 1 | LS | 72000 | 72000
|  | f | f) Standby diesel generator 500KVA | 1 | nos | 485000 | 485000
|  | g | g) UPS 100KVA online double conversion | 1 | nos | 198000 | 198000
7 |  |  | EXTERNAL WORKS |  |  |  | 1251800
| 7.01 |  | Roads and Paving |  |  |  | 645800
|  | a | a) Asphalt paving to parking (75mm+150mm) | 3500 | m2 | 132 | 462000
|  | b | b) Interlocking paver blocks to walkways | 800 | m2 | 155 | 124000
|  | c | c) Precast concrete kerbs | 650 | lm | 92 | 59800
| 7.02 |  | Landscaping and Utilities |  |  |  | 344400
|  | a | a) Soft landscaping (trees, shrubs, turf) | 1200 | m2 | 72 | 86400
|  | b | b) Automatic irrigation system | 1200 | m2 | 50 | 60000
|  | c | c) External drainage and manholes | 1 | LS | 198000 | 198000
| 7.03 |  | Boundary and Access |  |  |  | 261600
|  | a | a) Precast boundary wall (2.4m high) | 180 | lm | 920 | 165600
|  | b | b) Automatic sliding entrance gate (6m) | 2 | nos | 48000 | 96000
8 |  |  | PROVISIONAL SUMS AND DAYWORKS |  |  |  | 680000
| 8.01 |  | Provisional Sums | 1 | LS | 520000 | 520000
| 8.02 |  | Daywork Allowance | 1 | LS | 160000 | 160000
|  |  | GRAND TOTAL (AED) |  |  |  | 19136190

## Instructions
BAYAN TENDER MANAGEMENT SYSTEM
PRICED BILL OF QUANTITIES - Emirates Building Systems Co.
IMPORTANT INSTRUCTIONS:
1. Do NOT modify the column headers in the 'BOQ' sheet.
2. The system auto-detects columns by header name.
3. Required headers: "Bill No.", "Item No.", "Sub-Item", "Description", "Qty", "Unit"
BOQ HIERARCHY:
This BOQ uses a 3-level hierarchy:
- BILL (Level 1): Major trade sections (dark blue rows)
- ITEM / ITEM GROUP (Level 2): Work categories within a bill (light blue rows for groups, white for standalone items)
- SUB-ITEM (Level 3): Individual line items within a group (indented, lettered a, b, c...)
Example:
Bill 1 - GENERAL REQUIREMENTS
1.01 - Site Mobilization and Setup (item group)
a) Mobilization of plant and equipment
b) Site office and welfare facilities
1.02 - Insurance and Bonds (standalone item with qty/unit)
FOR BIDDERS:
4. Enter your Unit Rate in the "Unit Rate" column (yellow-highlighted cells only).
5. The "Amount" column shows Qty x Unit Rate - do NOT modify.
6. Only leaf-level rows (standalone items and sub-items) have editable rate cells.
7. Group rows show subtotals, bill rows show bill totals.
8. All prices must be in AED (UAE Dirhams).
9. Zero-value items will be flagged for confirmation.
10. Negative values are NOT allowed.
FORMULA VALIDATION:
- Bayan validates: Amount = Qty x Unit Rate (1% tolerance).
- Do NOT manually override the Amount values.
SUPPORTED FILE FORMATS:
- .xlsx (recommended)
- .xls
- .csv
COLUMN AUTO-DETECTION KEYWORDS:
- Bill Number: "Bill No.", "Bill #", "Bill"
- Item Number: "Item No.", "Item #", "Ref", "Code"
- Sub-Item: "Sub-Item", "Sub Item", "Sub", "Detail"
- Description: "Description", "Particulars", "Detail", "Scope"
- Quantity: "Qty", "Quantity", "Est. Qty"
- UOM: "Unit", "UOM", "Unit of Measurement"
- Unit Rate: "Unit Rate", "Rate", "Unit Price", "Price"
- Amount: "Amount", "Total", "Total Amount", "Value"
- Notes: "Notes", "Remarks", "Comments"